## Slide 1: Psychrometry & Air-conditioning
P M V Subbarao
Professor
Mechanical Engineering Department
I I T Delhi
Creation of Comfort /Conducive Ambience ..…

## Slide 2: Psychrometric Chart & Processes
Psychrometrics is defined as the physics which deals with processes and properties of moist air (mixture of dry air and water vapor).
In 1903, Willis H. Carrier completed the world's first scientifically based air conditioning system for Sackett Wilhelm Lithographing Company situated in Brooklyn, New York., which was designed to control humidity.

## Slide 3: The Birth of Air-conditioning System
From his rich experience, Willis Carrier coined the term- Air Conditioning System as:
“Air Conditioning is the control of the humidity of air by either increasing or decreasing its moisture content. Added to the control of humidity are the control of temperature by either heating or cooling the air, the purification of the air by washing or filtering the air, and the control of air motion and ventilation.”

## Slide 4: Conditioning of Ambient Atmosphere

## Slide 5: Energy Intensive Psychrometric Processes
Sensible Heating or Cooling
Dehumidification
Humidification & Cooling
Humidification & heating

## Slide 11: Analysis of Cooling Experiment
Tae
Tai
TC

## Slide 12: Cooling and Dehumidification
When ambient air is made to flow past a cooling coil, the air can undergo sensible cooling and dehumidification.
Let Tc be the temperature of cooler surface:
Tae is usually larger than Tc as the most of the air leaving is at some state between C and ae.
The efficiency of cooling coil is defined as Coil By-pass Factor or Contact Factor.
Tae
Tai
TC

## Slide 14: Flow Chart for Humid Summer Air-Conditioning System
Room
Mixer
Cooler
Heater
Fan
Recirculated air
Fresh air
1
2
3
4
5
6
Energy balance in mixing:

## Slide 15: Analysis of Mixer
Room
Mixer
Return air
Fresh air
1
2
3
4
Energy balance in mixing:
Conditioned
Air

## Slide 17: Cooling of Mixed Air
Room
Mixer
Cooler
Fan
Recirculated air
Fresh air
1
2
3
4
5

## Slide 18: Winter Air-conditioning System
Room
Mixer
Pre Heater
Heater
Recirculated air
Fresh air
1
2
3
4
5
6
Washer
7

## Slide 19: Sequence of Psychrometic Process in Winter A/C
3
4
5
6
7
2
1
x
1-x

## Slide 20
A typical all weather air conditioning system is shown diagrammatically above.
Some of the air is recirculated and mixed with a quantity of fresh air.
General Air Conditioning System

## Slide 21: Components of Cooling Loads

## Slide 22: Total heat gain, sensible heat gain fraction from occupants

## Slide 23: Typical appliance load