## Slide 1: Isentropic Analysis & Optimization of Flow Kinematics in Parson Turbines - 1
P M V Subbarao
Professor
Mechanical Engineering Department
Maximization of Energy Transfer with Safe Operational Conditions!!

## Slide 2: De Laval vs Parson Turbine : Level -1

## Slide 3: De Laval vs Parson Turbine : Level -2

## Slide 4: The Parsons Stage of A Turbine
Parson’s Stage utilizes the principle of impulse and reaction.
There are number of rows of moving blades attached to the rotor and equal number of fixed blades attached to the casing.

## Slide 5: The Parsons Stage of A Turbine
The fixed blades are set in a reversed manner compared to the moving blades, and act as nozzles.

## Slide 6: The Parsons Stage of A Turbine
The fixed blade channels are of nozzle shape and there is some drop in pressure accompanied by an increase in velocity.
The fluid then passes over the moving blades and, as in the pure impulse turbine, a force is exerted on the blades by the fluid.
There is further drop in pressure as the fluid passes through the moving blades, since moving blade channels are also of nozzle shape.
(Only) The relative velocity increases in the moving blades.

## Slide 7: Basics of A Reaction Stage
U
Vr2
Va2
Vr3
Va3
b2
a2
a3
b3
p
Va
Vr
The reaction effect is an addition to impulse effect.
The degree of reaction

## Slide 8: First Law Analysis of Reaction Stage
First law for an isentropic fixed (Nozzle) blades:
1
2
3
First law for moving (rotor) blades:
Gross enthalpy drop available to the stage:

## Slide 9
The flow velocities between two successive blade at inlet and exit are Vf2 & Vf3.
Useful Velocities for A Reaction Stage
U
Vr2
Va2
Vr3
Va3
b2
a2
a3
b3
Vf2
Vf3
The tangential (Working) components or whirl velocities at inlet and exit are Vw2 & Vw3.
Vw2
Vw2

## Slide 10: The Action in An Impulse-Reaction Stage
Newton’s Second Law for an Impulse-reaction Blade:
The tangential force acting of the jet is:
F = mass flow rate X Change of velocity in the tangential direction
Vrw2
Tangential relative (Whirl) velocity at blade Inlet : Vr2 cos(b2).
Tangential relative (Whirl) velocity at blade exit : -Vr3 cos(b3).
Change in velocity in tangential direction: -Vr3 cos(b3) – Vr2 cos(b2).
Tangential Force on steam jet,
U
Vr2
Va2
Vr3
Va3
b2
a2
a3
b3
Vrw3

## Slide 11: The Reaction in A Reaction Turbine
The reaction to this force provides the driving thrust on the wheel.
The driving force on wheel
Power Output of the blade :
Diagram Efficiency of a Reaction Blade efficiency:

## Slide 12: Parson (50% Impulse - 50% Reaction) Turbine
An economic option:
U
Vr2
Va2
Vr3
Va3
b2
a2
a3
b3