## Slide 1: Isentropic Analysis of Large Steam Turbines
P M V Subbarao
Professor
Mechanical Engineering Department
Rules for Development of Industrial Turbines!!

## Slide 2: Progress in Steam Rankine Cycle
Year | 1907 | 1919 | 1938 | 1950 | 1958 | 1959 | 1966 | 1973 | 1975
MW | 5 | 20 | 30 | 60 | 120 | 200 | 500 | 660 | 1300
p,MPa | 1.3 | 1.4 | 4.1 | 6.2 | 10.3 | 16.2 | 15.9 | 15.9 | 24.1
Th oC | 260 | 316 | 454 | 482 | 538 | 566 | 566 | 565 | 538
Tr oC | -- | -- | -- | -- | 538 | 538 | 566 | 565 | 538
FHW | -- | 2 | 3 | 4 | 6 | 6 | 7 | 8 | 8
Pc,kPa | 13.5 | 5.1 | 4.5 | 3.4 | 3.7 | 3.7 | 4.4 | 5.4 | 5.1
h,% | -- | ~17 | 27.6 | 30.5 | 35.6 | 37.5 | 39.8 | 39.5 | 40

## Slide 3: Ultra Supercritical Installations of The World

## Slide 4: General Rules for Design of A Large Impulse-Reaction turbine
  The height of the blade must be viable.
  The height of blade must vary at a uniform rate, thus contributing to more economic designs.
  As a result of enthalpy drop occurring in the moving blades, there is a considerable amount of pressure is exerted on the rotor.
  This is transmitted to thrust bearing.
To avoid large axial thrust it is usual to allow:
Low degree of reaction in high pressure stages.
In large steam turbines (>300 MW), it is now usual to allow 60 – 70% of degree of reaction in low pressure stages.

## Slide 5: First Law Analysis of an ith Isentropic Reaction Stage
1
2
3

## Slide 6: Exit Relative Velocity of Steam
for any jth Stage

## Slide 7: Performance of An ith Isentropic Reaction Stage
The driving force on wheel
Power Output of the blade :
Diagram Efficiency or Blade efficiency:

## Slide 8
Performance of An ith Isentropic Reaction Stage with DoR, 

## Slide 9
Development of A Non-dimensional Model
: An ith Isentropic Reaction Stage with DoR, 
U
Vr2
Va2
Vr3
Va3
b2
a2
a3
b3

## Slide 10: Optimal Design of An isentropic Stage with DoR, 
For a given shape of the blade, the efficiency is a strong function of  =U/Va2.

## Slide 11: Optimal Design of An isentropic Stage with DoR, 
For a given shape of the blade, the efficiency is a strong function of  =U/Va2.
For maximum efficiency:

## Slide 12: Geometrical Details of A Rotor
Mean Diameter of A Rotor:
Blade Height
Area Available for steam/gas flow

## Slide 13: Multistage Expansion of Steam
Temp | Pressure | Specific Volume | Specific Enthalpy | Specific Entropy
C | MPa | m3/kg | kJ/kg | kJ/kg/K
575 | 25 | 0.01345 | 3415 | 6.271
554.9 | 22.5 | 0.01458 | 3380 | 6.271
532.9 | 20 | 0.01597 | 3342 | 6.271
508.5 | 17.5 | 0.0177 | 3300 | 6.271
481.1 | 15 | 0.01995 | 3253 | 6.271
449.9 | 12.5 | 0.02298 | 3200 | 6.271
413.4 | 10 | 0.02735 | 3137 | 6.271
369.2 | 7.5 | 0.03424 | 3061 | 6.271
311.8 | 5 | 0.04699 | 2961 | 6.271
226.2 | 2.5 | 0.08061 | 2810 | 6.271
179.9 | 1 | 0.1808 | 2635 | 6.271
151.9 | 0.5 | 0.3335 | 2515 | 6.271
143.6 | 0.4 | 0.4062 | 2478 | 6.271
133.5 | 0.3 | 0.5239 | 2432 | 6.271
120.2 | 0.2 | 0.7505 | 2370 | 6.271
99.62 | 0.1 | 1.39 | 2270 | 6.271
81.33 | 0.05 | 2.582 | 2177 | 6.271
75.87 | 0.04 | 3.153 | 2149 | 6.271
69.1 | 0.03 | 4.082 | 2113 | 6.271
60.06 | 0.02 | 5.88 | 2064 | 6.271
45.81 | 0.01 | 11 | 1985 | 6.271

## Slide 14: Large Power Plants : Selection of Speed
Swallowing Capacity :
Loading Capacity :
Power Capacity :

## Slide 15
d
Stages
Stage 1
Stage Z
Diameter
Variation of Diameter along a stages