## Slide 1: Analysis of Gas Turbines Systems for Power Generation
A Pair of Axial Compressible Flow Turbomachines for Essential and Exotic Needs…..
P M V Subbarao
Head & Professor
Mechanical Engineering Department

## Slide 2: Brayton Cycle
1-2 Isentropic compression (in a compressor)
2-3 Constant pressure heat addition
3-4 Isentropic expansion (in a turbine)
4-1 Constant pressure heat rejection

## Slide 3: Compressor – Turbine Monoblock Rotor

## Slide 4: Schematic diagram of a multistage Axial Flow Compressor

## Slide 5: Need for a Stator in multistage compressor
In general, a rotor also adds kinetic energy along with pressure raise to the fluid.
Compressor
Rotor Blades
Compressor
Stator Blades
However, the role of compressor is to raise pressure.
A diffuser known as stator succeeds the rotor to convert the excess kinetic energy into pressure.

## Slide 6: Stagnation Thermodynamics of An Ideal Axial flow Compressor Stage
V12/cp
s
T
p1
T1
p01
T01
V22/cp
p2
V32/cp
p3
p02 = p03
T02 = T03
T2
T3

## Slide 7: Irreversible Flow Past Compressor Blades

## Slide 8: Losses in Compressor due to Change in Flow Component
Vf/U
Annulus Loss
Secondary Loss
Profile Loss Loss

## Slide 9
Irreversible Adiabatic Stage of an Axial Flow Compressor
s
T01
T03a
T03s
p01
p03
p0
p0+dp0
T0
Consider an infinitesimal irreversible compression

## Slide 10
Model for an Irreversible Adiabatic Compression
Define Polytropic Efficiency as a measure of local irreversibility:
For an irreversible compressor:
For an isentropic compression:

## Slide 11: Evolution of Compressor Blades

## Slide 12
Variants of Global Compression Processes
1
2s
2k
2n
p1
p2
2T
0
p
v
wisothermal = Least compression work

## Slide 13: Major Concerns about Gas Turbine PGS
Irreversible Adiabatic Compression of gas.
More (~40% of turbine power) internal power consumption.
High exhaust gas temperatures and high-quality waste heat.
Look for potential concepts and technologies for improvement.

## Slide 14: New Initiatives
The U.S. Department of Energy (DOE) has initiated a development program called the advanced turbine system (ATS).
The aim of ATS is to achieve over 60% efficiency, with low Nox and suitable operating costs.
The different manufactures participated and initiated the collaborative advanced gas turbine development.
The outcome of their effort include a variety of advanced configurations, including compression with cooling, humid air turbine, steam injection, reheat combustor and chemical recuperation.

## Slide 15: The Wet Compression (WC) Gas Turbine PGS

## Slide 16: The Steam Injected Gas Turbine PGS

## Slide 17: The Integrated (SWC) Gas Turbine PGS

## Slide 18: Expenditures in A Gas Power Generation System
Creation of Life and induction of Energy into Working Fluid.
Compression : Creation of life , win
The measure of Life:
Two extreme roots for generation of life: ds > 0 or dT=0

## Slide 19: Actual Global Compression is Irreversible

## Slide 20
True Irreversible Adiabatic Compression
Define Polytropic Efficiency as:
For an irreversible compressor: