## Slide 1: Analysis & Control of Irreversible Flow in Gas Turbines Systems
Ideal Gas Machines …..
P M V Subbarao
Head & Professor
Mechanical Engineering Department

## Slide 2: Brayton Cycle
1-2 Isentropic compression (in a compressor)
2-3 Constant pressure heat addition
3-4 Isentropic expansion (in a turbine)
4-1 Constant pressure heat rejection

## Slide 3: Expenditures in A Gas Power Generation System
Creation of Life and induction of Energy into Working Fluid.
Compression : Creation of life , win
The measure of Life:
Two extreme roots for generation of life: ds > 0 or dT=0

## Slide 4: Actual Global Compression is Irreversible

## Slide 5
True Irreversible Adiabatic Compression
Define Polytropic Efficiency as:
For an irreversible compressor:

## Slide 6: Variation of Specific Heat of Ideal Gases
Gas | C0 | C1 | C2 | C3
Air | 1.05 | -0.365 | 0.85 | -0.39
Methane | 1.2 | 3.25 | 0.75 | -0.71
CO2 | 0.45 | 1.67 | -1.27 | 0.39
Steam | 1.79 | 0.107 | 0.586 | -0.20
O2 | 0.88 | -0.0001 | 0.54 | -0.33
N2 | 1.11 | -0.48 | 0.96 | -0.42

## Slide 7
g
cp
cv

## Slide 8: Phenomenological Model for Irreversible Compression
Let the air is modeled as:

## Slide 9: Generalized First Order Models for Variable Specific Heats
ap = 28.182 – 32.182 kJ/kmol.K
bv = 19.868 – 23.868 kJ/kmol.K
k1 = 0.003844–0.009844 kJ/kmol.K2
For design analysis of Gas Turbines:

## Slide 10: Irreversible Compression model with Linear variable properties
For compression from 1 to 2:
The expenditure due to compression:

## Slide 11: The Wet Compression (WC) Gas Turbine PGS

## Slide 12: The Steam Injected Gas Turbine PGS

## Slide 13: The Integrated (SWC) Gas Turbine PGS

## Slide 14
Variation of compression work with pressure ratio
wiso
wirr

## Slide 15: The Wet Compression (WC) Cycle
One of the most effective ways to increase the gas turbine power output is to reduce the amount of work required for its compressor.
A gas turbine compressor consumes about 30 to 50% of work produced by the turbine.
The wet compression cycle has the following benefits over the simple cycle.
Lower compressor work
Higher turbine work
Higher cycle efficiency

## Slide 16
Irreversible Adiabatic wet Compression
Define Polytropic Efficiency as:
For an irreversible wet compression:
Define wet index of irreversible compression as:

## Slide 17: Work savings due to wet compression
The expenditure due to wet compression:
An irreversible wet compression is modelled as:

## Slide 18: Compressor work with wet compression
Compressor work with wet compression is a function of
Pressure ratio ,
Evaporative rate d/dT and
Geometry of the compressor.
Wet compression work is much lower than that of dry air compression work.
The higher is the pressure ratio, more the saving in compressor work.

## Slide 19
Variation of wet compression work with pressure ratio
(Evaporative rate dw/dT=7.5e-4 kg/kg of air.K)
wrev,dry
wirr,dry
wrev,wet
wirr,wet

## Slide 20
Pressure ratio = 7
Variation Of Wet Compression Work With The Evaporative Rate
wrev,dry
wirr,dry
wirr,wet

## Slide 21: Extension of Optimal Design Range using Wet Compression

## Slide 22: Global Compressor Stage Efficiency
Measure of Losses
Extra power consumption due to Irreversible flow:

## Slide 23: Stage of An Axial Flow Compressor

## Slide 24
Irreversible Adiabatic Stage of an Axial Flow Compressor
T03=T02
s
T
Total Losses
Rotor Losses
T01
T02s
T03s
p01
p03s=p02s
p02
p03

## Slide 25: Gas dynamics of Irreversible Compressor

## Slide 26: Blade Speed
For a given rotor speed the velocity of the blade at the tip will be maximum.
The centrifugal stress in the rotor blades depends on the rotational speed, the blade material and length of the blade.
The maximum centrifugal stress is given by,
b, hub-tip diameter ratio.
K varies in the range 0.55 – 0.65.

## Slide 27
Blade Speed vs Flow Velocity
Ub

## Slide 28: Inlet Velocity Triangle & Flow Velocity
b1
a1

## Slide 29: Stage Efficiency
The stage efficiency of an adiabatic compressor stage is:
For calorically perfect gas
Actual temperature rise of a fluid when compressed in an irreversible stage for a pressure ratio of p03/p01 is:

## Slide 30: System of Equations for Stage Design