## Slide 1: Hydraulic Fluid Machines
Machines working with Truly Incompressible Flows…….
P M V Subbarao
Head & Professor
Mechanical Engineering Department

## Slide 2: A Two-Way Welfare for the Globe

## Slide 3: A Two-Way Welfare for the Globe

## Slide 4: Reservoir Created using A DAM

## Slide 5: A Two-Way Welfare for the Globe

## Slide 6: Identification of Resources
Primary characteristics of a Hydo-source and need.
The strength of a source: Head, H (m) or Dp
The Capacity: Discharge Q (m3/s) or Power, P (kg.m2/s3 ).

## Slide 7: The Powerhouse
How to select Right Principle of Operation for the Turbine in a HEPP??

## Slide 8
The Challenge: Development of Customized Mega Scale Dams and Mega Capacity Hydro Turbines !!!
A Novel Philosophy of Creation: Principle of Similitude
Every Maga Scale System can be Modelled as a Tiny System, with same Natrual Characteristics.

## Slide 9
A Matching Parameter for a Euler’s Machine with The Resource
For hydraulic power Resources
For compressible power Generating fluid resources
For hydraulic power Needs
For compressible power Consuming fluid needs
There exist a Matching Parameter with Reduced/no dimensions:

## Slide 10
Machine-Resource Matching Parameter:
For a Hydraulic Power Resource:

## Slide 11
Take j = -5/2
Step by Step Elimination of Fundamental Dimensions

## Slide 12
Take i = 1/2 & j = -5/4
Time demanded by resource
Step by Step Elimination of Fundamental Dimensions

## Slide 13: Selection of Speed of A Turbo Machine
The impact of Nationalism…….

## Slide 14: Matching of a Hydraulic Turbine to a Hydraulic Resource
Speed: N (rpm) or n (rps)
This is named as Specific Speed, Ns

## Slide 15
Popular Definitions for Hydraulic Machines
The specific speed, usually represented by Ns, also denominated as absolute specific speed or specific angular speed.

## Slide 16
Speed Vs Type of Best Suitable Hydraulic Turbine

## Slide 17: Pelton Turbine: The First Titled Impulse Turbine
Lester Allan Pelton, considered to be the father of modern-day hydroelectric power, was born in Vermilion Township, Erie County, in Ohio, on September 5, 1829.
Pelton embarked on an adventure in search of gold.
Shifted to California from Ohio in 1850, he was 21 years old.
After a failed quest for gold, he joined in the gold mines as a millwright, and carpenter at Camptonville, Yuba County, California in 1864 .

## Slide 18: Captonville

## Slide 19: Campton Ville Gold Mine : Use of Hydro Power Unit
Water wheels were being used to provide mechanical power for all things mining, air compressors, pumps, stamp mills and operating other machines.
The energy to drive these wheels was supplied by powerful jets of water which struck the base of the wheel with flat-faced vanes.
These vanes eventually evolved into hemispherical cups, with the jet striking at the center of the cup on the wheel.
Pelton observed that one of the water wheels appeared to be rotating faster than other similar machines.
It turned out initially that this was due to the wheel had come loose and moved a little on its axle.

## Slide 20: Damaged Wheel is A Better Design
He noticed the jet was striking the inside edge of the cups and exiting the other side of the cup.
His quest for improvement resulted in an innovation.
Pelton reconstructed the wheel, with the cups off center only to find again that it rotated more rapidly.
Pelton also found that using split cups enhanced the effect. By 1879 he had tested a prototype at the University of California, which was successful.
He was granted his first patent in 1880.
By 1890, Pelton turbines were in operation, developing thousands of horsepower, powering all kinds of equipment.

## Slide 21: Hydro Power Plant using Pelton Wheel
The Pelton wheel was first used at the Mayflower Mine in Nevada City, California in 1878

## Slide 22: A Patent on Water Wheel
In 1880 Pelton was granted a patent with the following text.
"Pelton water turbine or wheel is a rotor driven by the impulse of a jet of water upon curved buckets fixed to its periphery;
each bucket is divided in half by a splitter edge that divides the water into two streams.
The buckets have a two-curved section which completely reverses the direction of the water jet striking them."

## Slide 23: Kinematics of Flow for Actual Bucket in flow plane
Euler torque equation:

## Slide 24: Frictional Flow Past A Bucket
For a real flow past a bucket: