## Slide 1: Design Rules for Development of Pelton Wheel - 1
Facilitation of Sufficient time through Learnings form Machine…….
P M V Subbarao
Head & Professor
Mechanical Engineering Department

## Slide 2: The Powerhouse of A Pelton Wheel
Wheel with Buckets
Housing
The Pelton turbine is the most popular machine type for the exploitation of high head and low discharge power plants.

## Slide 3: Design Optimization of Pelton Wheel
Most of the progress made take their roots in practical experience, know-how and extensive experimental tests.

## Slide 4: A Complex Engineering Micro Alternate To Simple Gigantic Natural System

## Slide 5: Design Of Intake for High Release of Power
patm
H

## Slide 6: Head Fall with Lowest Irreversibility

## Slide 7: The Pelton Wheel & Bucket

## Slide 8: Projections of action by an Orthogonal Jet on a Pelton Bucket
A
B
C

## Slide 9: External stroboscopic flow visualization: Learning from Machine
Main Bucket Interacting with Jet
Bucket succeeding the Main Bucket
Bucket Preceding the Main Bucket

## Slide 10: Bucket Geometric Definitions: Leant from Machine

## Slide 11: Bucket Geometric Definitions: Leant from Machine

## Slide 12: Macro Geometric Details of Bucket

## Slide 13: A Set of Relations among Major Geometrical Features
A jet of finite velocity needs to have a relation with peripheral velocity of wheel.
A jet of finite area need to have a relation with dimensions of bucket.
A bucket of finite dimensions and shape should have a relation with wheel.

## Slide 14: Shape variations of Buckets

## Slide 15: Optimum Bucket Design
At first, various combinations of the free design variables are tested with the optimization method.
This helps in assessing the relative importance of each one, as well as to determine their variation ranges.
Efficiency depends more on the main bucket dimensions (length, width and depth), than on the shape of the outer part of its rim or on the lateral surface curvature.
The optimization has to be carried out for all the free design variables simultaneously.
This practice enhances the time of design optimization, but at the same time ensures that the resulting optimum design is acceptable.
The creation of evaluations using Artificial Intelligence Tool is an option of the method to achieve faster convergence.

## Slide 16: AI for Evaluation of Geometrical Features Bucket
General dimensions A1,A2,B,C2,C3,E,F

## Slide 17: AI for Evaluation of Geometrical Features Bucket
Each evaluation is a combination of length, width and depth.

## Slide 18: Further Parametric studies using AI Models
The developed methodology also facilitates the investigation of the effect of any design parameter on the runner efficiency.
Also, helps in the prediction of the turbine behaviour at various operation conditions (e.g. different head or rotation speed).
Two important parametric studies are:
In the first study the bucket size is varied by increasing or reducing its main dimensions (length, width, depth) at the same degree, so as the modified shapes remain similar to the initial one.

## Slide 19
Optimization of Bucket Geometry

## Slide 20: Sensitivity Analysis

## Slide 21: Optimization of Bucket Geometry

## Slide 22: More Adapted Value of Ns for A given Type of Turbine
Specific speed in rpm

## Slide 23: Multiple jet to Handle Larger Flow Rates with High Head

## Slide 24: More Adapted Value of Ns for A given Type of Turbine
Specific speed in rpm