## Slide 1: Design Rules for Development of Pelton Wheel - 2
Facilitation of Sufficient time through Learnings form Machine…….
P M V Subbarao
Head & Professor
Mechanical Engineering Department

## Slide 2: The Powerhouse of A Pelton Wheel
Wheel with Buckets
Housing
The Pelton turbine is the most popular machine type for the exploitation of high head and low discharge power plants.

## Slide 3: Jet Vs Mean Diameter of Pelton Runner
Mean diameter or Pitch circle diameter: Dwheel
Circumferential velocity of the wheel, Uwheel
Basic Law of Impulse as action:
Blade Speed Ratio

## Slide 4: Specific Speed to Achieve Best Performance of A Wheel
Specific speed ensures perfect matching of resource time with machine time and hence best performance of wheel.

## Slide 5: Role of Specific Speed in Wheel Design

## Slide 6: Optimal values of Wheel diameter to jet diameter
Chart: 
| 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45
 | 24.9985 | 19.991 | 15.7685 | 12.331 | 9.6785 | 7.811 | 6.7285 | 5.6 | 4.8
Ns

## Slide 7: Experimental Best values of Wheel diameter to jet diameter
Dwheel /djet | 6.5 | 7.5 | 10 | 20
Ns (rpm) | 35 | 32 | 24 | 10
hturbine | 0.82 | 0.86 | 0.89 | 0.90
P in hp, H in meters and N in rpm

## Slide 8: Extreme Natural Resources
The highest wheel to jet ratio used in the world is 110 (Kt. Glauraus Power House in Switzerland).
Specifications of this Pelton wheel are:
Power 3000HP (2.24MW) Speed: 500 rpm
Dwheel= 5.36m djet= 48.77mm
Head =1,650 m

## Slide 9: Geometry of Wheel, Bucket & Jet Interactions
Rpelton
d
dj,O, Vj,O
Rwheel
w
A
A’
B
B’

## Slide 10: Number of buckets
The number of buckets for a given runner must be determined so that no water particle is lost.
Minimize the risks of detrimental interactions between the out flowing water particles and the adjacent buckets.

## Slide 11: Number of buckets
The runner pitch is determined by the paths of;
  the bucket tip (diameter Dpelton),
  the Wheel-base diameter (DBase).
and the relative paths of the water particles stemming from the upper A-A’and lower generators B-B’of the jet.
The bucket pitch must be selected so that no particle stemming from the lower generator of the jet can escape the runner without encountering any bucket!

## Slide 12: Artistic Drawing : Cycle of Jet Bucket Interactions
Dq=50
Dq=150
Dq=250
Dq=350
Vjet
Ublade
Vjet
Ublade
Vjet
Ublade

## Slide 13
Bucket & Jet Interaction Cycle

## Slide 14
Minimum Number of Buckets
1B
1C
1E
q
y
Rwheel
RPelton
d
dj,O, Vj,O
2j = q+y
w

## Slide 15
Minimum Number of Buckets
q
y
RWheel
RPelton
d
dO, Vj,O
lj
w
tj : Time taken bye the jet to travel lj
tb: Time taken by main bucket to travel y

## Slide 16
q
y
RW
RP
d
dO, Vj,O
lj
w
tj = lj/Vjet,O
Minimum Number of Buckets
For guaranteed interaction working tj < tb
tb = y/w

## Slide 17
For better working tj < tb
The minimum allowable value of y
Minimum Number of Buckets

## Slide 18
q
y
RW
RP
d
dO, Vj,O
lj
w
Half Angular Spacing

## Slide 19
Maximum allowable angle between two successive buckets
Minimum number of buckets
Dr Taygun has suggested an empirical relation for z
Maximum Allowable Angular Spacing of Buckets

## Slide 20: Geometry of Wheel, Bucket & Jet Interactions
Rpelton
d
dj,O, Vj,O
Rwheel
w
A
A’
B
B’

## Slide 21
Bucket & Jet Interaction Cycle

## Slide 22: Distribution of Reaction to Impulse Action
Measure of Reaction: Local Pressure Coefficient

## Slide 23: Driving Force on The Wheel

## Slide 24: Instantaneous Driving Force during Bucket Duty Cycle

## Slide 25: Bucket Duty Cycle
Reference Position

## Slide 26: Zones of Bucket Duty Cycle
i) Approach of the tip to the jet (θj < −40◦).
ii) Initial feeding process : (θj = −40◦...−10◦).
iii) Entire separation of the jet (θj = −10◦...0◦)
iv) Last stage of inflow (θj = 0◦...15◦)
v) Last stage of outflow (θj = 15◦...50◦).
vi) Series of droplets (θj = −50◦...∞).

## Slide 27: Bucket Power Distribution
P(qj)
1
2
3
4
5
Total

## Slide 28: Bucket Energy Distribution
Ej,k

## Slide 29: Closing Remarks on Pelton Wheel
The first scientifically developed concept and also patented product.
The only one option for high heads (> 600 m)
Best suited for low flow rates with moderate heads (240m -- 600m).
A better choice for moderate heads with medium flow rates.
Easy to construct and develop, as it works at constant (atmospheric) pressure.
Low rpm at moderate or marginal heads is a major disadvantage.