## Slide 1: Francis Turbine
P M V Subbarao
Professor
Mechanical Engineering Department
Blend some Reaction into Impulse…
Works well for Resources with Medium Head and Large Flowrate …..

## Slide 2
Speed Vs Type of Hydraulic Turbine

## Slide 3: Specific Speed Range of Francis Turbine
Specific speed in rpm
P in hp & H in meters

## Slide 4: Selection of Speed of A Francis Turbine
Zp : Number of pairs of poles of the generator

## Slide 5: The Francis Turbine
A Francis turbine is suitable for medium heads (45 to 400 m) and requires a relatively large quantity of water.

## Slide 6: 3D Geometric Model of A Francis Turbine

## Slide 7: The Francis Turbine
It is a reaction turbine developed by an English born American Engineer, Sir J.B. Francis.

## Slide 8: The Francis Turbine
The water enters the turbine through the outer periphery of the runner in the radial direction and leaves the runner in the axial direction, and hence it is called ‘mixed flow turbine’.

## Slide 9: The Francis Turbine
It is a reaction turbine and therefore only a part of the available head is converted into the velocity head before water enters the runner.

## Slide 10: The Francis Turbine
The pressure head goes on decreasing as the water flows over the runner blades.

## Slide 11: The Francis Turbine
The static pressure at the runner exit may be less than the atmospheric pressure and and water simultaneously fills all the passages of the runner blades.

## Slide 12: The Francis Turbine
The change in pressure while water is gliding over the blades is called ‘reaction pressure’ and is partly responsible for the rotation of the runner.

## Slide 13: Variations of Francis : SVARTISEN
P = 350 MW
H = 543 m
Q = 71.5 m3/s
n = 333 rpm

## Slide 14
P = 169 MW
H = 72 m
Q = 265 m3/s
n = 112,5 rpm
Variations of Francis : La Grande, Canada

## Slide 15: The Francis Installation

## Slide 16: Francis Turbine Power Plant : An Invariant Power Hydraulic Turbine

## Slide 17: Location of Francis Turbine

## Slide 18
An Active Pascal Law : A Hydraulic Model for Francis Units
1

## Slide 19: Sectional Views of A Francis Turbine

## Slide 20: Absolute Path of the Water Parcel
Water from spiral casing
Water parcle

## Slide 21: Inlet and Exit Velocity Triangles

## Slide 22
Runner inlet (Φ 0.870m)
Guide vane outlet for designα) (Φ 0.913m)
Closed
Position
Max. Opening Position
Variable Inlet Flow Angle & Guide Vanes

## Slide 23: Operation of Guide Vanes for Best Performance
.

## Slide 24
Outlet
draft tube
Outlet
runner
Inlet
runner
Inlet
stator vane
Outlet
stator vane
Zatm
Ideal Hydraulic Energy Diagram

## Slide 25
Hydraulic efficiency of Francis Hydraulic System

## Slide 26: Sankey Diagram

## Slide 27: Losses in Francis Turbines: Learning from the Machine
Draft tube
Output Energy
Head [m]
Hydraulic Efficiency [%]

## Slide 28
Need for Overdesign of Francis Turbines : Learning from the Machine
Hydraulic Efficiency [%]
Output Energy
Output [%]

## Slide 29
Methodology to Infuse Machine Learning into Francis Turbine Desgin & Operation

## Slide 30
Methodology to Infuse Machine Learning into Francis Turbine Desgin & Operation

## Slide 31
Methodology to Infuse Machine Learning into Francis Turbine Desgin & Operation

## Slide 32: Performance Predicted by ML Package