## Slide 1: Design Analysis of Francis Turbine Runner
P M V Subbarao
Professor
Mechanical Engineering Department
Selection of Correct Geometrical Features to Infuse DoR & Mixed Flow …..

## Slide 2: 3D Geometric Model of A Francis Turbine

## Slide 3: Indian Francis Turbine Plant
Srisailam Reservoir and Nagarjuna Sagar Reservoir are the two major water storage reservoirs built across the Krishna River in Andhra Pradesh.
Srisailam Hydroelectric Power Station is installed near the tow of the Srisailam dam with an installed power capacity of 1670 MW, which is one of the biggest HPS in India.
Head available: 91.46 m
Specific speed in rpm
P in hp & H in meters
2,238,475 hp

## Slide 4: Selection of Speed of A Turbo Machine
Zp : Number of pairs of poles of the generator

## Slide 5: Sizing of Hydropower Plant
Specific speed in rpm
P in hp & H in meters

## Slide 6: Hydrodynamic Theory of Runner

## Slide 7: Hydrodynamic Theory of Runner

## Slide 8: Hydrodynamic Theory of Runner

## Slide 9: Sectional View of The Runner

## Slide 10
Representative Inlet Velocity triangles
rri
rre
Uri
Vwi
Vri
Vfi
Vai
Ure
Vwe
Vre
Vfe
Vae
bi
ai
be
ae

## Slide 11
Camber Surface + Hydrofoil= 3D Blade

## Slide 12: CAD Model of Runner Blade

## Slide 13: Francis Runner Blade

## Slide 14: Dissection of A Francis Turbine Runner

## Slide 15: Wooden Model Reference Model Practice

## Slide 16: CAD Model of Periodic Section of A Runner

## Slide 17: Flow Chart for Runner Design

## Slide 18: Design and Description of Blades
Simple extruded blade
Simple Extruded Blade
  Obtained by simply extending the 2D profile of NACA4412 along third dimension.
  The chord length is and span is .

## Slide 19: Design and Description of Blades
Design and Description of Simple Twisted Blade
  Obtained by using 11 profiles of NACA4412 along the span.
  The maximum angle of twist is .
  The twist angle between any two adjacent profiles is .
  Keeping first profile at place and rotating each profile by the increment of about axis normal to the plane of the profile passing through the point at mid-chord.
  The surfaces of suction side, pressure side and nose are created by loft surface creation tool available in ICEM.
Designed simple twisted blade
Figure showing 11 profiles along the span of simple twisted blade

## Slide 20: Design and Description of Blades
Design and Description of Francis-like Blade Obtained by using 11 profiles of NACA4412 of parabolically increasing chord length and maximum thickness given by
  Where, and
  Scaling is done by the common Scale Factor (SF) of along x and y directions to get the final chord lengths and maximum thicknesses for all profiles.
  The maximum angle of twist is .
  The twist angle between two adjacent profiles is .
Figure showing 11 profiles along the span of Francis-like blade

## Slide 21: Design and Description of Blades
Design and Description of Francis-like Blade
  After the 11 scaled profiles are obtained, keeping first profile at place and rotating each profile by the increment of about axis normal to the plane of the profile passing through the point at mid-chord of respective profile.
  The surfaces of suction side, pressure side and nose are created by loft surface creation tool available in ICEM.
Figure showing increasing thickness along crown side cross section of the blade
Figure showing the provided twist of 11° from band side to crown side

## Slide 22: Design and Description of Blades
Profile Number | Z-Plane Location of the Profile (in ) | Common Scaling Factor along x and y | Chord Length , in | Maximum Thickness , in | Angle of Twist About Axis Passing Through Mid-Chord Normal to the Plane of Respective Profile
1 |  |  |  |  | 
2 |  |  |  |  | 
3 |  |  |  |  | 
4 |  |  |  |  | 
5 |  |  |  |  | 
6 |  |  |  |  | 
7 |  |  |  |  | 
8 |  |  |  |  | 
9 |  |  |  |  | 
10 |  |  |  |  | 
11 |  |  |  |  | 
Profile Number |  |  |  |  | Angle of Twist About Axis Passing Through Mid-Chord Normal to the Plane of Respective Profile
1 |  |  |  |  | 
2 |  |  |  |  | 
3 |  |  |  |  | 
4 |  |  |  |  | 
5 |  |  |  |  | 
6 |  |  |  |  | 
7 |  |  |  |  | 
8 |  |  |  |  | 
9 |  |  |  |  | 
10 |  |  |  |  | 
11 |  |  |  |  | 
Data used to design the Francis-like blade

## Slide 23: Arrangement of Flow Channel

## Slide 24: Internal Anatomy of Runner

## Slide 25: Blade Velocity Vs Tangential Component of Fluid Velocity
Ub
Ub
Vw
Va
Vf
Vr
In maridional plane at mean radius of rotor

## Slide 26: Shape of Francis Channel : Meridional Plan
Rr1i
Rr2e
L/Dri
Rr2i
Rr1e

## Slide 27: Models for values of Radii
The real value of the outlet tip radius
The real value of the intlet root radius
Rr2e and Rr1i are only fix two points of the leading and trailing edges and the rest of these curves should be drawn to lead to better efficiency of runner.

## Slide 28: Determination of Inlet & exit edges of Runner
1i
2i
1e
2e
The form of these edges is two parabolic curves.
Define the non-dimensional specific speed
For
the leading edge form is a parabolic arc
with the peak in the point by radius of 2.Rr1i-Rr2iwhich passes through the points 1i and 2i,

## Slide 29: Determination of Inlet & exit edges of Runner
1i
2i
1e
2e
and for specific speeds between
its form is also a parabolic arc but with the minimum point in the 1i
and the axis is parallel to runner axis.
In the exit area, trailing edge is a parabolic curve which has a minimum point in 1e and also passes through a point such as 2i with a radius of Rr1i/3.

## Slide 30: Determination of Inlet & exit edges runner
1i
2i
1e
2e
The form of these edges is two parabolic curves.
Define the non-dimensional specific speed
For
the leading edge form is a parabolic arc
with the peak in the point by radius of 2.Rr1i-Rr2iwhich passes through the points 1i and 2i,

## Slide 31: Dimensions of Runner Channel : Meridional Plan
The BOVET well known relations give the geometry of hub and shroud curves in the runner blade zone.
The form of limit curves is defined by equation:
Rr1i
Rr2e
L/Dri
Rr2i
Rr1e

## Slide 32: Location of Runner Vane in Runner Channel

## Slide 33: Variation of Flow Velocity
Vf
s

## Slide 34: Perpendicular Plan : Conservation of Rothalpy

## Slide 35: Modern Functions for Blade Angle Variations

## Slide 36: Creation of Runner Channel

## Slide 37: Kinematics and angles of the flow at blade inlet

## Slide 38: Kinematics and angles of the flow at blade outlet

## Slide 39: Typical Geometrical Details in Meridional Plane: Sample Design

## Slide 40: Centerline of Blade at Mean Dimeter

## Slide 41: Mean Surface of Runner Blade
Camber Surface of an Aerofoil

## Slide 42: Construction of the Real Blades Using NACA Profiles
Once the camber surface is determined and verified in space.
Embark this surface with profiles of adequate thickness, which will confer the necessary mechanical strength,
the maximum energy transfer and
the minimum drag by the liquid flow.
Chose appropriate NACA profiles.
The thickness relative function is given by the formula:

## Slide 43: NACA 65 Series for Francis Runner Blade

## Slide 44: The transposition of the profiles for all the 11 streamlines

## Slide 45: A Linear Array of Blades

## Slide 46: Circumferential Arrangement of Hydrofoil Blades

## Slide 47: 3D Reconstruction of Runner with Blades

## Slide 48: Study of Velocity distribution on runner for Improvement

## Slide 49: Blade to Blade Flow Variation

## Slide 50: Three-Dimensional Flow Visualization

## Slide 51: Runner and Sourrings