## Slide 1: Design Analysis of Francis Turbine’s Organs
P M V Subbarao
Professor
Mechanical Engineering Department
Creation of Efficient Surrounding for the Runner…..

## Slide 2: 3D Geometric Model of A Francis Turbine

## Slide 3: Guide Vanes
The guide vanes are pivoted and can be turned by a suitable governing mechanism to regulate the flow while the load changes.
The guide vanes are also known as wicket gates.
The guide vanes impart a tangential velocity and hence an angular momentum to the water before its entry to the runner.
The guide vanes are constructed using an optimal aerofoil shape, in order to optimize off-design performance.

## Slide 4: Design of Guide Wheel : Low Specific Speed

## Slide 5: Design of Guide Wheel (Stator): High Specific Speed

## Slide 6: Design of Guide Wheel (Stator): High Specific Speed
D1
D2
Speed Number
Flow Number

## Slide 7: Design of the Guide Vanes Diameter of guide vane shaft
D1
D2

## Slide 8: The correlation between the turbine discharge and the guide vane angle.

## Slide 9: Pressure drop versus Guide Vane angle

## Slide 10: Design of the Guide Vanes
ao
How to choose the guide vane maximum angle a0 at full load ?

## Slide 11: Design of the Guide Vane Outlet Angle
The outlet angle can be calculated by assuming a free vortex from the flow in the gap between the runner and the guide vanes
rri
Dg0
Bg0

## Slide 12: Design of the Guide Vanes How to choose the number of vanes
The number of guide vanes has to be different from the number of runner vanes.

## Slide 13: Design Rules for Guide Vane Wheels
The inlet angle can be calculated by assuming a free vortex from the flow coming from the spiral casing
rinlet Guide Vane
rinlet Stay Vane
Bgi
Bsi
Theory of Relatively free Whirling flow:

## Slide 14: Operational Configurations of Guide Vanes

## Slide 15: Number of guide vanes

## Slide 16: Number of Guide Vanes
Ns Dge,mm | Z=8 | 10 | 12 | 14 | 16 | 18 | 20 | 24
<200 | <250 | 250 - 400 | 400 - 600 | 600 - 800 | 800 - 1000 | 1000 1250 | 1250 1700 | >1700
>200 | <300 | 300 - 450 | 450 - 750 | 750 - 1050 | 1050 1350 | 1350 1700 | 1700 2100 | >2100

## Slide 17: Geometrical Description of A Francis Turbine Parts
Very Low Head & High DoR >75%

## Slide 18: Geometrical Description of A Francis Turbine Parts
Medium Head & Normal DoR 45% to 65%

## Slide 19: Geometrical Description of A Francis Turbine Parts
High Head & Low DoR < 40%

## Slide 20: Design Rules for Stay Vanes
rexit stay Vane
rinlet Stay Vane
Besv
Theory of Relatively Whirling flow:
Bisv

## Slide 21: Design of Spiral Casing
Rcasing
Risv
dpenstock
Q
How to select Q ?

## Slide 22
Spiral Casing for 35 MW Vertical Francis Turbine

## Slide 23: Design of Spiral Casing
Rcasing
Risv
dpenstock
Q
Select a suitable value of discharge per unit: Q
But maximum allowable value is 10 m/s
Maximum allowable head loss in Penstock =2 to 4% of available head

## Slide 24
At any angle q, the radius of casing is:
A full spiral is generally recommended for high head 300m, semi-spiral is recommended for low head < 50m.
In general k =1.0, however corrected using CFD.
Segmental Design of Spiral Casing

## Slide 25: Flow Distribution Analysis of Casing
Stay vanes or Guide vanes

## Slide 26: Static Pressure Distribution in Casing.

## Slide 27: Mega Civil Works for Mechanical Power Generation

## Slide 28: Complete Francis Model

## Slide 29: Meshing of Fluid Domain

## Slide 30: Problem Definition in CFD

## Slide 31: Blade Loading & Torque

## Slide 32: Relative Performances of Components

## Slide 33: Cause for Runner Losses

## Slide 34: Cause for Runner Losses

## Slide 35: Modification of Hydrofoil Shape

## Slide 36: Improvement of the Runner Design using CFD
Classical Theory