## Slide 1: Kaplan Turbine
P M V Subbarao
Professor
Mechanical Engineering Department
Pure Axial Flow with Highest DoR….
Blades Use Aerofoil Theory….

## Slide 2: Specific Speed Vs Principle of Momentum Transfer
+
Ns < 55
55 < Ns < 450
Ns > 450

## Slide 3
Viktor Kaplan of Austria during 1913 – 1922

## Slide 4: Kaplan Turbine
The Kaplan turbine is a great development of early 20th century.
Invented by Prof. Viktor Kaplan of Austria during 1913 – 1922.
The Kaplan is of the propeller type, similar to an airplane propeller.
The difference between the Propeller and Kaplan turbines is that the Propeller turbine has fixed runner blades while the Kaplan turbine has adjustable runner blades.
It is a pure axial flow turbine uses basic aerofoil theory.
The kaplan's blades are adjustable for pitch and will handle a great variation of flow very efficiently.

## Slide 5: Kaplan Turbine
They are 90% or better in efficiency and are used in place some of the old (but great) Francis types in a good many of installations.
They are very expensive.
The Kaplan turbine, unlike all other turbines, the runner's blades are movable.
The application of Kaplan turbines are from a head of 2m to 40m.

## Slide 6: Selection of Kaplan Turbine
MORE ADAPTED TYPE OF TURBINA IN FUNCTION OF THE SPECIFIC SPEED. |  | 
Specific Speed in r.p.m. | Turbine type | Jump height in m
From 270 to 500 | Slow Kaplan | 50 to 15
From 500 to 800 | Quick Kaplan | 15 to 5
From 800 to 1100 | Extra-quick Kaplan | Less than 5
P in hp and H in meters.

## Slide 7: Type of Turbine vs Resource Details

## Slide 8: The Fast Machine for A Low Head
Ub
Vwi
Vai
Vfi
Vri
Vwi
Ub
Vai
Vfi
Vri

## Slide 9: The Fast Machine for A Low Head
Vwi
Ub
Vai
Vfi
Vri
Vwi
Ub
Vai
Vfi
Vri
Vwi
Ub
Vai
Vfi
Vri

## Slide 10: The Fast Machine for A Low Head
Ub
Vai
Vri
=Vfi
Zero Vwi

## Slide 11: Specific Speed of Kaplan Turbine
Using statistical studies of schemes, F. Schweiger and J. Gregory established the following correlation between the specific speed and the net head for Kaplan turbines:
P in watts.

## Slide 12: Ganga Hydro Elecrtic Scheme
Ten Kaplan Turbine Power units along Ganga Canal.
Ranipur, Pathri, Bahadrabad, Salawa, Chitaura, Nirganj, Mohammedpur, Sumera, Palra and Bhola.
Capacity Range: 400 hp to 10,000hp.
Head Range: 5.3 m to 9.6 m

## Slide 13: Major Kaplan Plants in Karnataka, India
S.No. | Station | No. Units × unit Size, MW | Design Head | Speed rpm | Design Discharge, Cumecs
1 | LPH | 2 × 27.5 | 29.5 | 200 | 101
2 | Kadra | 3 × 50 | 32.0 | 142.86 | 175.5
3 | Kodasalli | 3 × 40 | 37.0 | 166.67 | 123
4. | Almatti | 1 × 15 5 × 55 | 24.09 | 187.50 | 26.69 115.4

## Slide 14: The Schematic of Kaplan Turbine

## Slide 15: Major Parts of A Kaplan Turbine

## Slide 16: Superior Hydrodynamic Features
Section of Guide Wheel
Runner
Essential for High Efficiency at low Heads

## Slide 17: Classification of Kaplan Turbines
The Kaplan turbine can be divided in double and single regulated turbines.
A Kaplan turbine with adjustable runner blades and adjustable guide vanes is double regulated while one with only adjustable runner blades is single regulated.
The advantage of the double regulated turbines is that they can be used in a wider load range.
The double regulated Kaplan turbines can work between 15% and 100% of the maximum design discharge;
the single regulated turbines can only work between 30% and 100% of the maximum design discharge.

## Slide 18: Hydraulic Energy Diagram
Hs
Htotal
Hri
Hre
Hm

## Slide 19: The suction head
The suction head Hs is the head where the turbine is installed;
if the suction head is positive, the mean line of turbine is located above the trail water;
Hs

## Slide 20: The suction head
If the suction head is negative, the mean line of turbine is located under the trail water.
Cavitation is an important consideration for design of Kaplan turbine for low heads.

## Slide 21: CAVITATION
Cavitation occurs especially at spots where the pressure is low.
In the case of a Kaplan turbine, the inlet of the runner is quite susceptible to it.
At parts with a high water flow velocity cavitation might also arise.
The major design criteria for blades is : Avoid Cavitation.
First it decreases the efficiency and causes crackling noises.
The main problem is the wear or rather the damage of the turbine’s parts such as the blades.

## Slide 22: The suction head
To avoid cavitation, the range of the suction head is limited.
The maximum allowed suction head can be calculated using the following equation:

## Slide 23: Design of Guide Wheel
Dgo
kug 1.3 to 2.25 : Higher values for high specific speeds
Number of guide vanes : 8 to 24 : Higher number of vanes for large diameter of guide wheel.

## Slide 24: Outlines of Kaplan Runner
Whirl Chamber
Guide Vanes
a
b
The space between guide wheel outlet and kaplan runner is known as Whirl Chamber.
a=0.13 Drunner & b=0.16 to 0.2 Drunner.

## Slide 25: Design of Kaplan Runner
Drunner
Dhub

## Slide 26: Hub diameter
The hub diameter Di can be calculated with the following equation:

## Slide 27: Runner Diameter
The runner diameter can be calculated by the following equation:

## Slide 28: Hydrodynamics of Kaplan Blade

## Slide 29: Mean Diameter Specifications of A Kaplan Runner
Drunner
Dhub

## Slide 30: Distortion of the blade under ideal circumstances
The velocity triangles, which occur on the blade, play a significant role in determining its distortion.
Uwheel
Vri
Vai
Vfi

## Slide 31
Uwheel
Vri
Vai
Vfi
Uwheel
Vre
Vae
Details of Blade Arrangement

## Slide 32
Details of Blade Arrangement

## Slide 33: Method for Real Kaplan
Vfi=Vfe
Vri
Vre
V∞
Define Half Travel Point of a fluid particle as
The angles, however, are not 100% accurate. To get the exact angles of the distortion the “Tragflügletheorie” has to be considered

## Slide 34: The “Tragflügeltheorie” at Half Travel Point
The “Tragflügeltheorie” was developed by Ludwig Prandtl.
According to the “Tragflügeltheorie” :
A lifting force is generated at the blades of the runner due to the configuration of the flow stream and the whirling stream, which occur at the Center of Pressure of blade.
Values such as the lift coefficient and the attack angle δ also play a significant role in the design of the blade.
These coefficients can be determined via model tests.
Using these results the profile, the chord and the exact distortion of the blade can be determined.

## Slide 35: The “Tragflügeltheorie”
V∞
Fideal lift
Factual lift

## Slide 36
Vri
The “Tragflügeltheorie”

## Slide 37: Characteristics of Blades
Ideal Blade lift coefficient at each radius:
hdraft: Efficiency of draft tube: 0.88 to 0.91
K : Profile characteristic number: 2.6 to 3.0
hmin=2.0 – 2.5

## Slide 38
When the lifting coefficient is known, the sufficiency of ratio l/t can be established as follows:
2.5°-- 3°
Allowable values of angle of slip l
Characteristics of Blades

## Slide 39: The actual Lifting Coefficient

## Slide 40: Drag Coefficient

## Slide 41: Calculation of Actual Angle of Slip

## Slide 42: Actual Angle of Attack

## Slide 43: Radial Equilibrium
Radial Equilibrium Equation for Incompressible Fluid Machine

## Slide 44: General Rules for Selection of Whirl Component
Free Vortex Whirl:
Forced Vortex Whirl :

## Slide 45
To define the distortion of the blade, the velocity triangles of at least six different radiuses of the blade are to be determined.
The angle β of each radius gives conclusions on the distortion of the blade.
The angles should be corrected for real hydraulics.
Radial Variation Blade Geometry

## Slide 46: Power Developed by the Runner
Power developed by an infinitesimal section of blade surface

## Slide 47: Calculation of Driving & Non-driving Forces