## Slide 1: Axial Flow Pumps
P M V Subbarao
Professor
Mechanical Engineering Department
An Inverse of Kaplan Turbine …
Better Choice for Pumping High Capacities……

## Slide 2: An Inverse of Axial Flow Pumps
Pump machinery consumes a significant proportion of the total energy consumption in society, among various high energy-consuming devices.
A Pump performs incompressible fluid transport functions.

## Slide 3: An Inverse of Axial Flow Pumps
Axial flow pumps are high specific speed turbomachinery.
This is non-dimensional specific speed defined using all variables in SI units.
The specific speed range of Axial flos pumps is typically 500–1500.
These devices, with their high flow and low head transport characteristics, have irreplaceable application value in municipal water supply, petrochemical, and shipbuilding engineering sectors

## Slide 4: Sustainable Energy & Future Role of Pumps

## Slide 5: Sustainable Energy & Future Role Pumps

## Slide 6: Axial Pump Stage : Basic Geometric Details
Runner
Stator

## Slide 7: Vertical Axis Axial Flow Pump

## Slide 8: Horizontal Axis Axial Flow Pump

## Slide 9: Euler Theory of Axial Flow Pumps
The Euler equation given an expression for the theoretical head for an axial flow pump with an infinite number of blades, defined, as
U

## Slide 10: Modfied Euler Model for A Real Axial Flow Pumps
A real pump will have finite number of blades with a slip coefficient.
The Pfleiderer’s formula used a correction factor.
The Pfleiderer’s formula is as follows:
U
Value is in the range
0.69 to 0.74

## Slide 11: Hydrofoil for Pure Reaction type Rotor Blades
NACA standard profiles

## Slide 12: Pure Reaction type Rotor Blades
NACA standard profiles

## Slide 13
F
Mean Diameter Cascade & Direction of Lift & drag

## Slide 14
F
Mean Diameter Cascade & Tangential Driving Force
The components of F are Ft the driving force along Tangential Direction and Fa in the Axial Direction.

## Slide 15
F
Mean Diameter Cascade & Tangential Driving Force
Fa in the Axial force:

## Slide 16
F
Mean Diameter Cascade & Tangential Driving Force
For z number of Vanes the Total Tangential Force

## Slide 17: Realization of Euler Torque
For incompressible fluids, Total pressure is defined as:

## Slide 18: Standard Hydrofoils used for Rotor Blades
C
For NACA 428, 682, 364 & 480

## Slide 19
For NACA 408, 490, 436 & 387
For NACA 622, 623, 624 & 384
For NACA 23012
Standard Hydrofoils used for Rotor Blades

## Slide 20
Inlet Velocity Triangle
Exit Velocity Triangle
Kinematics of Flow in Cascade

## Slide 21
Combined Inlet & Exit Velocity Triangles : Rotor

## Slide 22: The Pumping System

## Slide 23: Characteristics of Axial Flow Pump
Discharge
H

Head

## Slide 24: Machine Learning for Axial Flow Pumps
Selection of Efficient Muscles:

## Slide 25: The construction of the airfoil camber line

## Slide 26: The construction of the airfoil camber line using a segmented Bezier curve

## Slide 27: The construction of the airfoil camber line using a segmented Bezier curve
xd : Horizontal component of P2
yd Vertical component of P2
γ : Blade setting Angle
Major Design Variables

## Slide 28: Thickness distribution superimposed onto the camber line.
Tr: Thickness coefficient

## Slide 29: General Characteristics of Rotodynamic Pumps
:Solidity

## Slide 30: Parametric Set for Optimization

## Slide 31: General Characteristics of Rotodynamic Pumps

## Slide 32: Machine Learning for Creation of Optimal Rotor Blade

## Slide 33: General Characteristics of Rotodynamic Pumps