## Slide 1: Centrifugal Pumps
P M V Subbarao
Professor
Mechanical Engineering Department
An Inverse of Francis Turbine..
Domestic Appliance……

## Slide 2: Impulse-Reaction Turbomachine
Reaction by Centrifugal Action

## Slide 3: Centrifugal Pumps
Centrifugal pumps: the fluid enters the centre of a rotating impeller, where it is accelerated along the impeller blades.
The fluid gains kinetic energy which is converted in pressure energy in the diffuser.
The performance of centrifugal pumps depends on a big number of parameters and a satisfactory solution to face with the problem is dimensional analysis.
Two explicit variables are of our interest in the characteristics of pumps: the pressure rise and the power consumption.
It is expected the pressure rise, ΔP (N/m2), depends on:
Impeller size, D (m);
rotation rate, N (s -1);
volumetric flow rate, Q (m3/s);
fluid properties: density ρ (kg/m3) and viscosity µ (kg/ms);

## Slide 4: Fluid Dynamic Features of Reversed Idea
Vre(r)
Vri(r)
A departure from this idealistic assumption is denoted by the deviation angle, δ(r),

## Slide 5: General Characteristics of Rotodynamic Pumps

## Slide 6: General Anatomy of A Pump

## Slide 7: Basic Structure of Pump Impeller

## Slide 8: Slip Control in Pumps

## Slide 9
General Anatomy of A Pump

## Slide 10: Speed Vs Size : Constant Head & Flow Rate
N=1000 rpm
N=1500 rpm
N=3000 rpm
Demand Speed nf = 492 rps

## Slide 11
Pump at A Site
ps
Hs

## Slide 14: Geometric Details of Impeller