## Slide 1: Through Flow Theory in Turbomachinery
P M V Subbarao
Professor
Mechanical Engineering Department
Utilization of the Principle of Rothalpy Conservation!!

## Slide 2: An Exclusive Theory for Turbomachines
A Turbomachine
Fluid in
Fluid out
Through flow Theory
Along meridional path

## Slide 3: Blade Velocity Vs Tangential Component of Fluid Velocity
Ub
Ub
V
Va
Vf
Vr
In maridional plane at mean radius of rotor
Through Flow Theory

## Slide 4: Rotor Speed Vs Inlet Whirl Velocity
Ub
Vi
Vai
Vfi
Vri
Ub
V  i
Vai
Vfi
Vri
V  i
Ub
Vai
Vfi
Vri

## Slide 5: Need For A Stator/Nozzle
Ub
V  i
Vai
Vfi
Vri
For any turbine
Potential of A Resource:
Wind Power Potential:
No need of stator/Nozzle!

## Slide 6: Structure of Modern Wind Turbines

## Slide 7: Throughflow Analysis of Hydraulic Turbomachinery
A turbomachine working with incompressible fluid will be isothermal and hence u(T) is constant throughout the machine.
For an Ideal Hydro Turbomachine :

## Slide 8: Throughflow Analysis of Hydraulic Turbomachinery
For an Ideal Hydraulic Turbine:
Principle of Controlled Utilization of Hydraulic Resource:
Potential energy of a Hydraulic source can be stored for long time, whereas Kinetic energy is to be utilized at the instant.

## Slide 9: Hydrological Cycle

## Slide 10: Catchment Area of A River

## Slide 11: The West Flowing River: The Sharavathi
The river Sharavathi originates at a height of 730m near Ambuthirtha, in Shimoga district.
It flows in a north-west direction, in its long, 132-km journey.

## Slide 12: Jog Falls

## Slide 13: Creation of Reservoir of Potential Energy

## Slide 14: Reservoirs
A reservoir is a manmade lake or structure used to store water.
A reservoir with dam has an uncontrolled inflow but a largely controlled outflow.
The water available for storage is totally a function of the natural stream flow.
Reservoir capacity is the max. volume of water that can be stored in the particular reservoir.
It is the normal maximum pool level behind a dam.
This can be calculated by using a topographic map of the region.

## Slide 15: Reservoir Created using A DAM

## Slide 16
Storage plant (Impoundment plant)
Potential of A Hydraulic Resource:
For any turbine
An energy conversion device to convert potential energy to kinetic energy is essential.
This is known as Nozzle/stator.

## Slide 17: Stator & Rotor Pair in a Hydraulic Turbomachine
For stator/Nozzle Ublade =0
For rotors :

## Slide 18: Turbomachines working with Vapors/Gas
Energy Resources: Fossil Fuels, Nuclear Fuels, Geothermal Energy, Solar Thermal Energy, Biomass, Waste Heat…
Fossil Fuels & Biomass
Nuclear Fuels