## Slide 1: Thermal Management thru Natural Convection Cooling
Sizing and Analysis of Final Heat Carrier!?!?
P M V Subbarao
Professor
Mechanical Engineering Department

## Slide 2: Options for Removal of Heat from Electronic System

## Slide 3: Natural Philosophy by Newton
Newtons Laws of Motion ~1686
Newtons Law of Viscosity ~ 1687
Newtons Law of Cooling ~ 1692-1693

## Slide 4: Another Newton’s Experience
Natural Philosophy!

## Slide 5: Further Experimentation of Experience
State 1
State 2
Air Velocity vs Cooling Time

## Slide 6: A Natural Engineering for the Existence, Growth and Performance of Energetic Systems.
A True Design Reason behind Existence of Natural Systems…..
A Strong Design Modification for the Performance of Artificial Systems….
Latent Engineering in Nature

## Slide 7: Why I Am Different ?
?

## Slide 8: Geometrical Variations of Elephants
Indian Elephant
African Elephant

## Slide 9
Mammoths, living in a cold tundra region, have fur coats and small hairy ears.

## Slide 10: An Exotic & Artificial Device……
The basic invention is due to other sciences…
The final and reliable existence is governed by design for Heat Iteractions…

## Slide 11: The Pentium 4 Processor
At a room temperature of 298K, Wideal-elec-input = 0.018eV.
Best real‐world logic circuit designs can’t just magically cross this ~500× minimum power.

## Slide 12: Basic Location on A Mother Board

## Slide 13: Reliable and Guaranteed Location in A Desktop

## Slide 14: From Newton (1701) to Fourier (1807)
1701 Newton’s law of cooling.
For a century Fourier’s work was only analytical work available in heat transfer.
In the 1807 memoir, Fourier successfully developed a formula to use Newton’s Law as
This was incorporated by Fourier into his epoch-making convective boundary condition.
Fourier defined a new property, namely, “Exterior Conductivity” using the concept of surface heat flux.
What decides the value of exterior conductivity???
Wait for another 100 years or more????

## Slide 15: Who will open This Gordian Know
20th Century Alexander of Heat Transfer….

## Slide 16: How to Create a Convection Heat Transfer Coefficient
Ernst Kraft Wilhelm Nußelt (Nusselt) is the first contributor to analytical convection heat transfer.
In 1915 Nusselt cut the Gordian knot.
In a single stroke, Nusselt used Dimensional Analysis to prove that there exist a functional form essential for all analytical/experimental works in convection heat transfer.

## Slide 17: Newton’s Cooling of PCBs
Zero Running cost.
No fans/pumps..
Added Running cost.
Need for fans/pumps..

## Slide 18: Analysis of Heat Transfer in Equilibrium Layer
At the wall for fluid layer :
At Thermodynamic equilibrium

## Slide 19: Estimation of Heat Transfer Coefficient
Estimation of heat transfer coefficient is basically computation of temperature profile in equilibrium fluid layer.
Provoked a general theoretical and experimental study to understand how the equilibrium layer is developed.
The global geometry of the solid wall and flow conditions will decide the structure of stagnant layer.

## Slide 20: In search of A Dimensionless Parameter for Convection

## Slide 21: Natural Convection in Electronic Devices
Natural convection in vertical channels with asymmetric heating of this nature is found in communication equipment.
In such equipment, vertical circuit cards containing heat generating electronic devices are arrayed to form vertical channels and are cooled by free convection.
Natural or free convection occurs due to the change in density of the fluid caused by heating process.
In a gravity field, the fluid, which has a lower density, is lighter and therefore rises, creating a movement in the fluid which is called convection.
This movement permits the fluid to pick up heat and carry it away.
The natural convection is the common method used in electronics cooling.
A large class of equipment that lends itself to natural convection .

## Slide 22: Natural Convection HT on A Flat Plate
Cooling/Heating with Zero Operating Cost….
P M V Subbarao
Professor & Head
Mechanical Engineering Department

## Slide 23: Natural Convection on Inclined Hot Flat Surface

## Slide 24: Natural Convection from Horizontal Plate
Hot Plate (Ts > T)