## Slide 1: Natural Convection Heat Sinks : Single Phase Immersion Cooling (SPIC)
A special Heat Transfer Environment for Efficient Thermal Management …
P M V Subbarao
Professor
Mechanical Engineering Department

## Slide 2: Typical heat transfer coefficients for NC with dielectric Liquids

## Slide 3: Comparison of Data Center Size
Due to superior thermophysical properties of liquids, SPIC methods exhibit higher cooling performance compared to conventional Natural air-cooling methods

## Slide 4: Thermal Management with NC SPIC

## Slide 5: Thermal Management of A Rack with NC SPIC

## Slide 6: Infrastructure of A Data Center

## Slide 7: Thermal Management of A Rack with NC SPIC

## Slide 8: Typical Convection Pattern

## Slide 9: Typical Convection Pattern

## Slide 10: Typical Convection Pattern: Rack with Multiple Servers

## Slide 11: Performance of NC SPIC

## Slide 12: CPU Power vs CPU TJ : FC3283

## Slide 13: CPU Power vs CPU TJ : FC3283

## Slide 14: Comparison of various Single Phase Immersion Coolants
The selection of high- performance SPIC coolants is ideally guided by the following criteria:
Specific heat capacity >960 J/(kg⋅K), thermal conductivity >0.06 W/ (m⋅K), dielectric constant < 2.3, boiling point >100 C and GWP < 250.
The concept of a Figure of Merit (FOM) was introduced to enable the quantitative optimization of the cooling liquid selection.
An ordinary FOM is typically derived from the heat transfer coefficient correlation by neglecting terms unrelated to the fluid properties.
The ordinary FOM expression applied to SPIC in current market is as follows:

## Slide 15: Comparison of various Single Phase Immersion Coolants
A higher FOM generally indicates superior thermal performance of the coolant.
In practical engineering applications, the coolant in pump driven SPIC cabinets typically exhibits turbulent flow.
If the classic Dittus-Boelter equation is used, the FOM can be expressed as follows:

## Slide 16: A sensitivity analysis based on FOM
A sensitivity analysis based on FOM is to be carried out to examine how the change in the independent property of a liquid immersion coolants impacts the FOM.
This is another driving factor of the cooling performance.
The variance of the FOM due to a property change can be calculated by,

## Slide 17: A sensitivity analysis based on FOM
A commonly used single-phase heat transfer fluid, MO 24, a high- purity white mineral oil (24cSt at 40℃), is used as an example for sensitivity analysis

## Slide 18: Comparative Study of Dielectric Fluids

## Slide 19: Weight Factor for A Property
Note that each property may have a different range of changes when comparing different liquids.
To further evaluate the impact of physical properties on the immersion cooling performance, a weight-factor framework is used with consideration of temperature dependence.
The weight factor for the property, x. is defined as:

## Slide 20: Weight Factor for A Property

## Slide 21: Library of Dielectric Fluids

## Slide 22: Classification of Dielectric Fluids

## Slide 23: Classification of Dielectric Fluids

## Slide 24: Classification of Dielectric Fluids

## Slide 25: Classification of Dielectric Fluids

## Slide 26: Single-phase Immersion High power Chip Cooling: Step 1
Heat dissipation requirements for chip

## Slide 27: Single-phase Immersion High power Chip Cooling: Step 2
Effect of increasing the effective heat dissipation area,

## Slide 28: Single-phase Immersion High power Chip Cooling: Step 3
Convective heat transfer coefficients of various SPIC methods

## Slide 29: Flow Generated by NC SPIC

## Slide 30: Superiority of Immersion Cooling

## Slide 31: Superiority of Immersion Cooling