## Slide 1: Granularity of Thermal Management of Electronic Systems
Different Principles for Various Levels of Thermal Management
P M V Subbarao
Professor & Head
Mechanical Engineering Department

## Slide 2: Zone of Heat Dissipation in a JFET

## Slide 3: Switching Energies of Individual Transistors

## Slide 4: Switching Energies of Individual Transistors

## Slide 5: Switching Energies of Individual Transistors

## Slide 6: Switching Energies of Individual Transistors

## Slide 7: Switching Energies of Individual Transistors

## Slide 8: Performance Indicators of ICT Devices
The ultimate performance of an information processor is the binary information throughput (BIT).
The maximum number of on-chip binary transitions per unit time.
BIT is the product of the transistor count Ntr with the clock frequency of the microprocessor f:
The overall computational performance of micro processors measured in (millions) of instructions per second (IPS).
For a variety of microprocessor chips k ~ 0.1 and r ~ 0.64.

## Slide 9: A trend for increasing computational performance through device scaling

## Slide 10: Performance Indicators of ICT Devices
This correlation suggests a possible fundamental law behind the empirical observation.
For a larger computational power, the binary throughput needs to be further increased.
This in- turn requires an increase in the number of transistors and/or switching frequency.
It is straightforward to show, however, that increasing BIT leads to increased power consumption, according to an equation:

## Slide 11: Power vs. data rate

## Slide 12: Optimizing Server Hardware and Workloads
Energy-efficient hardware: Older processors and storage disks are replaced with modern, high-efficiency solid-state units designed to draw less power.
Server virtualization: Multiple software applications run on a single physical machine, lowering the total count of active servers.
Server consolidation: Idle or lightly used equipment is shut down or removed, which directly shrinks the power footprint.

## Slide 13: Fundamental limits in Work of computing
Human Brain is the Least Work Demanding ICTs and architectures.
The function of brain in terms of the equivalent number of binary transitions include support language, deliberate movements, information-controlled functions of the organs, hormone system etc.,
This leads to an ‘effective’ binary throughput of the brain ~ 1019 bit/s.
An estimate of the number of equivalent instructions-per-second (IPS) was made from the analysis of brain image processing capability resulting in ~1014 IPS.
The fact is that the brain, a- biological information processor, operates at only ~30W.

## Slide 14: ICT vs Brain Technology
The most recent and most impressive demonstration of an artificial intelligence computer system, the IBM Watson supercomputer.
It is capable of answering questions posed in natural language and the winner of the 2011 Jeopardy! quiz show,.
It is built from ~3000 processor cores (POWER7) each consisting of 1.2B transistors and operating at 3.5GHz.
The approximate total binary throughput about 1022 bit/s.
The machine consumes ~200kW of power.
The fact that the brain, a- biological information processor, operates at only ~30W suggests that 199.7 kW of power is dissipated as heat and responsible for generation of entropy.

## Slide 15: Newton (1701)
Challenge 1: How to facilitate removal of heat from Die or in particular the performing junction.
Challenge 2: Chip Packaging Technologies lower the opportunities of efficient heat removal techniques.
The key to improving reliability & performance is to reduce device temperature by increasing the rate at which heat is removed from the device and from the working area adjacent to the device.
Heat transfer Analysis then becomes the next step.
Creation of Efficient Cooling Systems

## Slide 16: Thermal Model of Processor Package (Internal)

## Slide 17: Thermal Model of Processor Package (External)

## Slide 18: Chip Level (Scale -1) Thermal Management
CLTH includes:
Thermal analysis of chip packaging.
Design of new high conductive thermal adhesives.
Innovative methods for the attachment the die to the heat spreader, including the use of solder maybe considered in this scale.
Improving/Realizing the theoretical limitation of the heat removal from the chip.

## Slide 19: Anatomy of a General Electronic Board for Thermal Management Study
Printed Circuit Board (PCB)
Thermal Interface Material
(Optional)
Heat Sink

## Slide 20: Thermal Model of A Server
Most GPU’s have thermal throttle points set at or near 80degC.

## Slide 21: Rack Level Thermal Management

## Slide 22: Management of Air Flow in A Rack : Second Level of Division

## Slide 23: Optimal Location of Fans in A Rack/Cabinet
33% reduction in Cooling fans

## Slide 24: Macro-scale TM Model of A Data Center

## Slide 25: Various Models for Relative Positionng of Racks

## Slide 26: Granularity of Thermal Management of Data Centers
Heat Generation Scale
A successful thermal management strategy must take way heat generation at all levels!