## Slide 1: Integral Solutions for Forced Convection HT in FPBL
Solutions for 21st Century Use of Boundary Layer Convection….
P M V Subbarao
Professor & Head
Mechanical Engineering Department

## Slide 3: Pohlhausen’s Temperature Deficit Profile
Pohlhausen Temperature Deficit Profile function is defined as:

## Slide 4: Energy equation Using Pohlhausen’s Temperature Profile
Substitute profile equation into above equation:
The profile function for non-dimensional velocity is essential to solve for heat transfer coefficient.

## Slide 5: Master Velocity Profile Functions
u
Define momentum thickness, as
Define a shape function that varies from 0 to1.

## Slide 6: Pohlhausen’s Analogy of Master Velocity & Temperature Profiles
=
Define

## Slide 7: Master Velocity Profile Functions
Polhausen’s Proposition to polynomial to

## Slide 8: Master Velocity Profile Functions

## Slide 9: Master Velocity Profile Functions

## Slide 10: Von Karman-Pohlhausen Method for Flow over a Flat Plate
Use the above equation to get an expression for the momentum thickness,

## Slide 11: Von Karman-Pohlhausen Method for Flow over a Flat Plate

## Slide 12: Von Karman-Pohlhausen equation for Wall Shear Stress

## Slide 13: Von Karman-Pohlhausen Equation for a Flat Plate Boundary Layer Thickness

## Slide 14: Integral Solutions to Momentum Equation of FPBL
The expressions for local boundary layer thickness and skin friction coefficient are obtained using Integral solution to momentum equation.
The constant 0.684 is only marginally different from 0.664, obtained using the Blasius solution.

## Slide 15: Blasius Profile Vs Pohlhausen Profile

## Slide 16: Energy equation Using Pohlhausen Temperature Profile
Define

## Slide 17: Energy equation Using Pohlhausen Temperature Profile

## Slide 18: Energy equation Using Pohlhausen Temperature Profile

## Slide 19: Energy equation Using Pohlhausen Temperature Profile

## Slide 20: Pohlhausen ODE for Thermal Boundary Layer Thickness

## Slide 21: Pohlhausen ODE for Thermal Boundary Layer Thickness
From momentum integral:

## Slide 22: Pohlhausen’s ODE for Thermal Boundary Layer Thickness

## Slide 23: Integral Solution to Isothermal Flat Plate
For Isothermal Flat Plate

## Slide 24: Integral Solution to Isothermal Flat Plate

## Slide 25: Uniform Heat Flux
The object of heattransfer analysis is the prediction of the wall temperature variation Tw(x).
The design objective is to control this temperature and to keep it under an allowable limit.

## Slide 26: Flat Plate with Uniform Heat Flux
The heat transfer problem continues to be the calculation of heat transfer coefficient
when the heat flux q is known.

## Slide 27: Integral Solution to Isoheatflux Flat Plate
For Iso-heat flux Flat Plate

## Slide 28: Impact of the assumed profile shape on the integral solution

## Slide 29: Advanced Applications of FCBL
Forced convection cooling of an electric and electronic circuit boards are the modern application of FCFPBL Theory.
The heating effect in these applications is distributed discretely along the flat plate.
The simplest model is sketched as:

## Slide 30: Arbitrary Wall Temperature
The integral solution for heat transfer with an unheated starting length is the building block for the construction of heat transfer solutions for this case.

## Slide 31: Simplification of Arbitrary Wall Temperature

## Slide 32: Flat Plate Convection with Unheated Starting Length
The simplest model is sketched as:
What is the heat transfer rate from the wall to the fluid stream if the leading segment 0 < x < x0 is unheated (T = T∞)?
Pohlhausen’s “The Integral Solution Method” is usedful here!

## Slide 33: Flat Plate Convection with Unheated Starting Length
The simplest model is sketched as:
Unheated Starting Length:
Assuming the temperature profile shape:
Similarly, velocity profile shape:

## Slide 34: Energy Equation for Unheated Starting Length
Define
The energy equation in terms of :
+4
The general solution of above equation is :
Constant C follows from the condition that heating (that is, a thermal boundary layer,) starts at x = x0.

## Slide 35: Flat Plate Convection with Unheated Starting Length
The simplest model is sketched as:
The final solution is given as:
The local Nusselt number is
Due to the effect of the unheated length x0 on the local Nusselt number drops below 20% if x is beyond 3x0 from the leading edge of the flat plate.

## Slide 36: Arbitrary Wall Temperature
0 < x < xi, the unheated started length, where q’’= 0 because the wall is in thermal equilibrium with the free stream
0 < x < xi+1, the unheated started length, where q’’= 0 because the wall is in thermal equilibrium with the free stream

## Slide 37: Arbitrary Wall Temperature
0 < x < xi, the unheated started length, where q’’= 0 because the wall is in thermal equilibrium with the free stream

## Slide 38: Wall Heatflux in FP with Arbitrary Wall Temperature

## Slide 39: Arbitrary Wall Temperature
0 < x < xi+1, the unheated started length, where q’’= 0 because the wall is in thermal equilibrium with the free stream

## Slide 40: Arbitrary Wall Temperature

## Slide 41: Arbitrary Wall Temperature
where xi is the longitudinal position of each temperature step change Ti..

## Slide 42: Arbitrary Wall Temperature
If the arbitrary wall temperature varies smoothly, T0(x), the summation is replaced by its integral limit (the limit of infinitesimally small steps):