## Slide 1: Laminar Natural Convection on A Vertical Plate : Development of Engineering Relations
P M V Subbarao & Head
Professor
Mechanical Engineering Department
Models for Design of Natural Convection Systems….

## Slide 2: Boundary Layer Variables : Isothermal Wall
Y
BL Velocity profile:
BL Temperature Profile:
T
BL Thickness Function:

## Slide 3: Boundary Layer Variables : Isothermal Wall
Y
Substitute the velocity profile and the temperature profile in above equation and integrate to get:
Consider Integral Energy Equation:

## Slide 4: Heat Transfer Coefficient : Isothermal Wall
The local heat transfer coefficient is:
Substitute the expression for :

## Slide 5: Local Nusselt Number: Isothermal Wall
The local Nusselt number:
Grashof number :
Rayleigh number:
L

## Slide 6: Art of Thermal Management of Electronics

## Slide 7
Constant Heat Flux Vertical Wall : Velocity and Length Scales
Using dimensional analysis:
non-dimensional master velocity :
non-dimensional Boundary layer thickness :
Define non-dimensional master temperature :
Scale for master Velocity
Scale for length

## Slide 8
ODEs for master profiles : Constant Heat Flux Vertical Wall
The solution to these Equations is:

## Slide 9
Boundary Layer Properties for a Constant Heat Flux Vertical Wall:
Define modified Grashof Number as
Boundary Layer Thickness:
Local Nusselt Number:

## Slide 10
Natural Convection Profiles for a Vertical Wall
Constant Heat Flux VW
Constant Temperature VW
Variation of Wall Temperature for CHF :
Variation of Wall Heat Flux for CT :

## Slide 11: General Empirical Correlations
Typical correlations for average heat transfer coefficient for vertical wall developed from experimental data are expressed as:
Where n=1/4.

## Slide 12: Vertical Plate at constant Ts

## Slide 13
Alternative Correlation applicable to entire Rayleigh number range (for constant Ts)
Vertical Cylinders
Use same correlations for vertical flat plate if:

## Slide 14: Empirical Correlations : Horizontal Plate
Define the characteristic length, L as
Upper surface of heated plate, or Lower surface of cooled plate :
Lower surface of heated plate, or Upper surface of cooled plate :
Note: Use fluid properties at the film temperature

## Slide 15: Empirical Correlations : Long Horizontal Cylinder
Very common geometry (pipes, wires)
For isothermal cylinder surface, use general form equation for computing Nusselt #

## Slide 16
RaD C n
Constants for general Nusselt number Equation: Horizontal Cylinder

## Slide 17
Laminar Natural convection on blunt shapes
In 1987, Yovanovich, studied natural convection heat transfer on Blunt Shapes:

## Slide 18
Laminar Natural convection on blunt shapes
In 1987, Yovanovich, proposed a correlation for natural convection heat transfer on Blunt Shapes:
Define a characteristic length for a 3D body as:
The coefficient GDc is a geometric parameter, and
NuDc→0 represents the average Nusselt number at the limit of RaDc → 0, namely, when heat transfer is due to pure conduction.

## Slide 19
Constants for Yovanovich’s correlation

## Slide 20: Natural Convection in Vertical Flow Passages
Hchimney
Tgas
B
pA = pref +Dpair column
Zref
Furnace
Chimney
pB = pref +Dpgas column
Tatm
A

## Slide 21: FORCED CONVECTION IN LAMINAR INTERNAL FLOWS
An Essential System for Human Development thru Exchanging Heat……..
Creation of Energy Mediators …

## Slide 22
Fire is a discovery rather than an invention.
Homo erectus probably discovered fire by accident.
Discovery of FIRE, FLAME and TORCH
As early as 400,000 BC, fire was kindled in the caves of Peking man.

## Slide 23: Sharing of Skills

## Slide 24: The First Civilized Food Processing !!!!!
Fire Can only Heat Solids !!!!!

## Slide 25: EARLIEST TYPES OF CS : COOKING

## Slide 26: Convection Systems to Enhance the Utility of Fire
Can they do so beyond stomach ????
Branca's Steam Turbine
James Watt’s Engine

## Slide 27: Onset of Internal Flow Convection Systems
The Plain Cylinder Boiler:

## Slide 28
Energy Mediators – A first step in Civilization and Development…
How exactly this mediation Occurs???

## Slide 29
Occurrence of Mechanical Equilibrium in Internal Flows
The region of the flow in which the effects of the viscous shearing forces (Forces leading to Mechanical equilibrium) are felt is called the velocity (Momentum) boundary layer.
The entry of flow into a pipe/duct is controlled by the law of occurrence of mechanical equilibrium between fluid and walls of pipe/ducts.
The size of fluid layer under the influence of mechanical equilibrium slowly is increases from entrance to inside….

## Slide 30
Occurrence of Thermal Equilibrium in Internal Flows
The region of the flow, which has the dominance of conduction heat transfer is called the temperature (Thermal) boundary layer.
The fluid under mechanical equilibrium is subject to zeroth law of thermodynamics.
Conduction heat transfer is responsible for the onset of thermal equilibrium.
The size of fluid layer under the influence of thermal equilibrium also slowly is increases from entrance to inside….

## Slide 31
Simultaneous Occurrence of Thermal and Mechanical Equilibrium
The hypothetical boundary surface divides the flow in a pipe into two regions:
1a. The momentum boundary layer region, in which the viscous effects and the velocity changes are significant.
1b. The thermal boundary layer region, in which the conduction heat transfer is significant.

## Slide 32
Simultaneous Occurrence of Thermal and Mechanical Equilibrium
2a. The irrotational (core) flow region, in which the frictional effects are negligible, and the velocity remains essentially constant in the radial direction.
2b. The uniform temperature region, in which the convection heat transfer is significant.

## Slide 33: Transport Similarity
Estimate Convection thru Learning of Fluid Flow

## Slide 34
Resistance to flow & Operational Cost of Duct Flow
Newton’s Law of Viscosity:

## Slide 35
Condition for Steady flow with Wall Resistance
For Steady flow:

## Slide 36
Condition for Steady flow with Wall Resistance
For Steady flow:

## Slide 37
Negative Pressure Gradient for Steady flow
For Steady flow:

## Slide 38
Heating of Flow with Cooling of PCB
Thermal Boundary Layer
Plug Fluid

## Slide 39
Condition for Steady flow with Wall Resistance
For Steady flow:

## Slide 40
Heating of Fluid due to Cooling of DUCT Walls
=
Thermal Boundary Layer
Plug Fluid