## Slide 1: Analysis of Turbulent Convection Systems
Thermo-physical Properties of Infected Systems..
P M V Subbarao
Professor
Mechanical Engineering Department
I I T Delhi

## Slide 2: Reynolds stresses & Heat Fluxes
Performing the Reynolds Averaging Process, new terms has arisen, namely the Reynolds-stress tensor:
This brings us at the turbulent closure problem, the fact that we have more unknowns than equations.
  Three velocities + pressure + six Reynolds-stresses+Temperature + three Rynolds heat flux
  Three momentum equations + the continuity equation+the energy equation
To close the problem, we need additional equations to solve infected flow.

## Slide 3: Prandtl Mixing Length Hypothesis
X
Y
y
The fluid particle A with the mass dm located at the position , y+lm and has the longitudinal velocity component U+U is fluctuating.
This particle is moving downward with the lateral velocity v and the fluctuation momentum dIy=dmv.
It arrives at the layer which has a lower velocity U.
According to the Prandtl hypothesis, this macroscopic momentum exchange most likely gives rise to a positive fluctuation u >0.

## Slide 4: Prandtl Mixing Hypothesis

L

## Slide 5: Microscopic View of Viscosity of Gases
The slowing down effect of fluid layers near a wall in gases is mainly due to the momentum transfer of the gas molecules when they diffuse from a slower layer into a faster layer.
F

## Slide 6: Analogy between Molecular Diffusivity and Eddy Diffusivity

## Slide 7: Microscopic View of Viscosity of Gases
F
Viscosity of ideal gases:
https://www.tec-science.com/thermodynamics/kinetic-theory-of-gases/viscosity-of-an-ideal-gas/

## Slide 8: Algebraic Mean Viscosity Model
Prandtl was the first to present a working algebraic turbulence model that is applied to wakes, jets and boundary layer flows.
The model is based on mixing length hypothesis deduced from experiments and is analogous, to some extent, to the mean free path in kinetic gas theory.
Molecular transport
Turbulent transport

## Slide 9: Conduction : Molecular and Turbulent Analogy
=
=
=
=
This is a molecular level heat conduction process and  is called as molecular diffusivity.
The molecular conduction heat transfer in a turbulent flow is defined as:
The turbulent heat conduction process with turbulent/eddy diffusivity T is defined as:
=
Consider Reynolds Heat Flux:

## Slide 10: Enhanced Conduction Heat Transfer in Turbulent Convection Systems
=
=
The molecular conduction heat transfer in a turbulent flow is:
The turbulent heat conduction heat transfer in a turbulent flow is:
The enhanced heat conduction heat transfer in a turbulent flow is:
=

## Slide 11: Simplified Reynolds Averaged Navier Stokes equations
5 equations 7 unknowns → We need two more ???

## Slide 12: Case Studies to Develop Two Additional Equations

## Slide 13: Steady Flat Plate Boundary Layer : Analogy between Laminar & Turbulent Regimes
Prandtl’s laminar boundary layer equations for flat plate:
Reynolds Averaged turbulent boundary layer equations for flat plate:

## Slide 14: Pradntl’s Hypothesis of Turbulent Flows
In a laminar flow the random motion is at the molecular level only.
Macro instruments cannot detect this randomness.
Macro Engineering devices feel it as molecular viscosity.
Turbulent flow is due to random movement of fluid parcels/bundles.
Even Macro instruments detect this randomness.
Macro Engineering devices feel it as enhanced viscosity….!

## Slide 15: Prandtl Mixing Length Hypothesis
X
Y
y
Particles A & B experience a velocity difference which can be approximated as:

## Slide 16: Definition of Mixing Length
The distance between the two layers lm is called mixing length.
Since U has the same order of magnitude as u, Prandtl arrived at
By virtue of the Prandtl hypothesis, the longitudinal fluctuation component u was brought about by the impact of the lateral component v , it seems reasonable to assume that

## Slide 17: Prandtl Mixing Length Model
Thus, the component of the Reynolds stress tensor becomes
This is the Prandtl mixing length hypothesis.
Prandtl deduced that the eddy viscosity can be expressed as
The turbulent shear stress component becomes

## Slide 18: Estimation of Mixing Length
To find an algebraic expression for the mixing length lm, several empirical correlations were suggested in literature.
The mixing length lm does not have a universally valid character and changes from case to case.
Therefore, it is not appropriate for three-dimensional flow applications.
However, it is successfully applied to boundary layer flow, fully developed duct flow and particularly to free turbulent flows.
Prandtl and many others started with analysis of the two-dimensional boundary layer infected by disturbance.
For wall flows, the main source of infection is wall.
The wall roughness contains many cavities and troughs, which infect the flow and introduce disturbances.

## Slide 19: Quantification of Infection by seeing the Effect
Develop simple experimental test rigs.
Measure wall shear stress.
Define wall friction velocity using the wall shear stress by the relation
Define non-dimensional boundary layer coordinates.

## Slide 20: Approximation of velocity distribution for a fully turbulent 2D Boundary Layer

## Slide 21: Approximation of velocity distribution for a fully turbulent 2D Boundary Layer
For a fully developed turbulent flow, the constants are experimentally found to be =0.41 and C=5.0.

## Slide 22: Measures for Mixing Length
Outside the viscous sublayer marked as the logarithmic layer, the mixing length is approximated by a simple linear function.
Accounting for viscous damping, the mixing length for the viscous sublayer is modeled by introducing a damping function D.
As a result, the mixing length in viscous sublayer:
The damping function D proposed by van Driest
with the constant A+ = 26 for a boundary layer at zero-pressure gradient.

## Slide 23: Effect of Mean Pressure Gradient on Mixing Length
Based on experimental evaluation of a large number of velocity profiles, Kays and Moffat developed an empirical correlation for that accounts for different pressure gradients.
With

## Slide 24: Van Driest damping function

## Slide 25: Distribution of Mixing length in near-wall region

## Slide 26: Mixing length in far wall Region

## Slide 27: Computational Analysis of Forced Convection on a Flat Plate

## Slide 28: HEAT TRANSFER IN BOUNDARY LAYER FLOW
For the heat transfer part of the turbulent boundary layer problem, time-averaged energy equation is to be solved.
Assume that sufficiently close to the solid wall:
The energy equation reduces to the statement that the apparent heat flux does not depend on y.
At the wall
Define non-dimensional wall coordinates of the flow problem:

## Slide 29: HEAT TRANSFER IN BOUNDARY LAYER FLOW
Define non-dimensional wall coordinates of the flow problem:
This form is the basis for defining the temperature in wall coordinates:

## Slide 30: HEAT TRANSFER IN BOUNDARY LAYER FLOW

## Slide 31: Temperature profile in turbulent boundary layer flow in wall coordinates
The temperature profile in the region is governed by the (Molecular) Prandtl number, the Turbulent Prandtl number and the velocity distribution in the same region.
Energy equation for turbulent boundary layer with forced convection:
Energy equation near wall in wall coordinates:

## Slide 32: Temperature profile in turbulent boundary layer flow in wall coordinates
The integral appearing on the right-hand side of above equation can be evaluated in closed form based on further assumptions regarding Pr, PrT and .
Temperature profile in near Wall region of a turbulent boundary layer:
In the fully turbulent region of the constant τapp layer:

## Slide 33: Extension of Prandtl's Mixing Length
According to the mixing length model, the second term in the denominator of the integrand given above increases steadily as y+ increases.
Both Pr and PrT do not depart too drastically from O(1).
Chances are good that in the integrand of above equation, the second term will outweigh the first term if y+ sufficiently large and vice versa.

## Slide 34: Two Layer Model for Temperature Profile in Turbulent Boundary Layer
Near the wall due to no-slop condition, molecular conduction is dominant.
This layer is called Conduction Sub Layer (CSL).
The thickness of CSL is denoted by
Outside CSL, turbulence is significant and turbulent diffusivity is large compared to molecular diffusivity.
The two-layer model is expressed as:

## Slide 35: Two Layer Model for Temperature Profile in Turbulent Boundary Layer
A broken line expression for the temperature profile is obtained as:

## Slide 36: Two Layer Model for Temperature Profile in Turbulent Boundary Layer
This result depends on three empirical constants, Prt, κ, and y+CSL.
provided that the Prandtl number of the fluid is in the range 0.5–5.
Substituting these values into the y+ > y+ CSL portion of the T+ profile yields
-5,66

## Slide 37: Computational Analysis of Forced Convection BL on A Cold Flat Plate

## Slide 38: Computational Analysis of Forced Convection BL on A Cold Flat Plate
Velocity BL
Thermal BL

## Slide 39: Turbulent Flow Regime
For a flat place boundary layer becomes turbulent at Rex ~ 5 X 105.
The local friction coefficient is well correlated by an expression of the form
Local Nusselt number:

## Slide 40: Boundary Layer on A Long Flat Plate
At a certain distance away from the leading edge, the flow begins to swirl, and various layers of flow mix violently with each other.
This violent mixing of the various layers, it signals that the flow is shifting from the smooth laminar flow near the edge to the turbulent flow away from the edge has occurred.
When the boundary layer changes from a laminar flow to a turbulent flow it is referred to as transition.

## Slide 41: Mixed Boundary Layer
In a flow past a long flat plate initially, the boundary layer will be laminar and then it will become turbulent.
The distance at which this transitions starts is called critical distance (Xc) measured from edge and corresponding Reynolds number is called as Critical Reynolds number.
If the length of the plate (L) is such that 0.95  Xc/L  1, the entire flow is approximated as laminar.
When the transition occurs sufficiently upstream of the trailing edge, Xc/L  0.95, the surface average coefficients will be influenced by both laminar and turbulent boundary layers.

## Slide 42: Mixed Flat Plate Boundary Layer
Important point:
  Typically, a turbulent boundary layer is preceded by a laminar boundary layer first upstream
   need to consider case with mixed boundary layer conditions!

## Slide 43
L
Trailing
Edge
Mixed Boundary Layer

## Slide 44
On integration:
For a smooth flat plate: Rexc = 5 X 105
Mixed Boundary Layer