## Slide 1: Jenson Model for Design of Windfarms
P M V Subbarao
Professor
Mechanical Engineering Department
Simplified Method for Selection of Spacing among WTs........

## Slide 2: Cooperating Neighbours to Supporting Neighbours

## Slide 3: Jensen Cone Model for Wake of A HAWT
As mentioned before Jensen Model assumes that the wake downstream expands linearly.
Thus, the path tracing by the wind downstream follows the conical shape of disturbance.
The radius of the cone can be estimated by using the following equation:
V
V
u1
Uwake
Rr
Arotor
Awake
V
The dimensionless scalar α, known as decay constant.

## Slide 4: Wake Decay Constant
Wake Decay Constant determines how quickly the wake expands with distance or
describes the growth of the wake width.
The determination of α is sensitive to factors including ambient turbulence, turbine induced turbulence and atmospheric stability.
This can be calculated by using an analytical expression as:

## Slide 5: Jensen Single Fullwake Model
The Jensen Model for conservation of momentum implies that the radius of wake(r) behind the turbine expands linearly with respect to down wind distance(D).
Law of conservation of mass for turbulent mixing wake:
V
V
u1
vw
Rr
Arotor
Awake
V

## Slide 6: Analysis of Pressure Recovery Zone
V
V
u1
Uwake
Rr
Arotor
Awake
V
LPR
u

## Slide 7: Estimation of Wake Velocity : Betz Model
V-u1 is defined as final velocity deficit generated by the wind turbine to reach p.
The velocity deficit depends on the power absorbed by the rotor.
This can be calculated by using appropriate momentum theory and measured value of CT.
Betz Theory:

## Slide 8: Analysis of Turbulent Mixing Zone
V
V
u1
Uwake
Rr
Arotor
Awake
V
LPR
u

## Slide 9: Streamwise Variation of Farwake Velocity
The area averaged wind velocity inside the single turbine wake area, given by Jensen’s single wake model.
However, this velocity function may not be valid in the near wake regime.
The wake radius rw and velocity vw both depend on the relative distance x behind the near wake.

## Slide 10: Estimation of Wake Velocity : BEM with Dual Induction Theory
Definitions:
Thrust Coefficient:
Guess a & a’

## Slide 11: Estimation of Wake Velocity : : Fluid Dynamics Model
The axial induction factor (of rotor) a & b are defined as:

## Slide 12: Average Wake Velocity Predicted by Jensen Model
V =7 m/s
V =11 m/s
V =17 m/s

## Slide 13: Validation of Jensen Kinematic Model !?!?!?

## Slide 14: Remote Sensing of Wind Turbine Wakefield
Intrusive probes cannot be used in measurement of wind turbine wake field.
Non-intrusive instruments can accurately trace the wakefields.
There are three important techinques:
SODAR is based on probing the wakefield by sound propagation.
LIDAR (Light Detection and Ranging) is based on probing the wakefield by electromagnetic radiation
Microwaves or laser light
SAR (Synthetic Aperture Radar) is based on satellite remote sensing is based on microwave scatterometry on the surface.
SODAR and LIDAR are direct measurements of wind speed based on Doppler shift.

## Slide 15: LiDAR System

## Slide 16: LiDAR System
LiDAR systems measure the wind conditions from the ground up to a height of 200 meters.
LiDAR systems can also be installed in top of a wind turbine to measure wind conditions in front and behind the turbine.
LiDAR measures wind velocity through the evaluation of the Doppler shift along a laser beam emitted into the wakefield and backscattered because of the presence of particles.
Therefore, a Doppler wind LiDAR is only sensitive to the velocity component parallel to the laser beam, known as the line of sight (LOS) velocity.

## Slide 17: Measurement Method : LiDAR
LiDAR measurements can be performed by simply staring the laser beam along a fixed direction.
Fixed azimuthal and elevation angles—which enables measuring the radial velocity along the beam direction at several locations evenly spaced along the beam.
Two-dimensional measurements can be performed by scanning the LiDAR over vertical planes.
This is called a Range–Height Indicator (RHI).
In RHI the LiDAR scans with a fixed azimuthal angle and by varying its elevation angle.
Measurements over conical surfaces can be also performed by varying the azimuth angle and with a fixed elevation angle, the so-called plan position indicator (PPI) or velocity–azimuth display (VAD).

## Slide 18: Instantaneous Snapshots of the axial velocity: 2-MW Enercon E-70 wind turbine

## Slide 19: Mean Snapshots of the axial velocity: 2-MW Enercon E-70 wind turbine

## Slide 20: Vertical Profiles of the Mean Axial Velocity

## Slide 21: Evolution of Area Averaged Local Axial Velocity

## Slide 22: Evolution of Area Averaged Local Axial Velocity

## Slide 23: Evolution of Area Averaged Local Axial Velocity
U = 17m/s

## Slide 24: Performance of Jenson Model

## Slide 25: Performance of Full Wake Analytical Model

## Slide 26: Computations of Wind Turbine Wakefields
The flow field in immediate near wake is approximated by solving the filtered three-dimensional incompressible Navier–Stokes equations.
Define filtered velocity as:
Continuity equation
Navier–Stokes equations
Two body forces (fWT and fturb) are explicitly introduced in the simulations to model the effect of the wind turbine and atmospheric turbulence.

## Slide 27: Vorticity Generation & Evolution in the Wake of A WT
A WT introduces helical tip vortices into the wake.
The amplitude of Vorticity introduced by rotor is identified as A0

## Slide 28: Evolution of tip vortices & Instability
Evolution analysis shows that the amplitude of helical vortices increases in the streamwise direction.
R
is the dimensional growth rate of an instability

## Slide 29: Instability of Wake
R
A growing vorticity is a measure of infection in laminar wake.
A growing infection leads to instability, transition and turbulence.
Stability Analysis shows that helical tip vortices are inherently unstable and that they will break down at some distance behind the wind turbine.
The breakdown position of tip vortices is assumed to take place where simple logarithmic amplification reaches its maximum.