Department of Mechanical Engineering

Indian Institute of Technology New Delhi

II Semester -- 2010 – 2011

MEL 725 POWER PLANT STEAM GENERATORS

PROBLEM SET - 2

Problem 1:  Calculate the theoretical oxygen and air required to burn 1 kmol of carbon, and 1 kmol of Hydrogen.

Problem 2: Calculate the theoretical Oxygen--fuel ratio and Air--fuel ratio on a mass basis for the combustion of ethanol, C2H5OH.

Problem 3: Determine the molal analysis of the products of combustion when octane C8H18 is burned with 100% excess air.

Problem 4: A certain fuel has the composition C10H22. If this fuel is burned with 50% excess air, what is the composition of the products of combustion?

Problem 5: A sample of pine bark has the following ultimate analysis, percent by mass: 5.6% H, 53.4% C, 0.1% S, 0.1% N, 37.9% O, and 2.9% ash. This bark will be used as a fuel by burning it with no excess air in a furnace. Determine the air--fuel ratio on a mass basis and the molar analysis of products of combustion.

Problem 6: Producer gas from bituminous coal contains following molar analysis.

Methane 3.0%; Hydrogen 14.0%; Nitrogen 50.9%; Oxygen 0.6%; Carbon monoxide 27.0% and carbon dioxide 4.5%.

This is burned with 25% excess air, Calculate the air--fuel ratio on a volumetric basis and on a mass basis.

Problem 7: Coal from a mine, has the following ultimate analysis, percent by mass:

Sulfur 0.6%, Hydrogen 5.7%, Carbon 79.2%, Oxygen 10.0%, Nitrogen 1.5%, and Ash 3.0%.

This coal is to be burned with 30% excess air. Calculate the air--fuel ratio on a mass basis.

Problem 8: The ultimate analysis of a sample of Bituminous coal received from a mine contains 74.4% of Carbon, 12% of Hydrogen, 2% of Oxygen and 3.8% of Sulfur. Calculate the amount of theoretical dry air required for complete combustion of 1 kg of fuel.

Problem 9: The proximate and ultimate analyses of a certain coal are given below.  From these calculate the theoretical dry air-fuel ratio required for complete combustion. \begin{center}

Proximate		 Ultimate

M = 5.0%		C = 65.3%

VM = 38.0% 		H = 5.37%

FC = 43.07%  	O = 10.69%

A = 10.39% 		N = 1.50%

S = 3.75%

Problem 10: Butane is burned with air and a volumetric analysis of the combustion products on a dry basis yields the following composition.

CO2 = 7.8%, CO = 1.1%, O2 = 8.2% and N2 = 82.9%

Determine the percent of excess air used in this combustion process.

Problem 11: A solid fuel is burned with air and the following volumetric analysis on a dry basis is obtained from the products of combustion.

CO2 = 10.5%, O2 = 5.3% and N2 = 84.2%

Determine the composition of the fuel on a mass basis and the percent of

excess air utilized in the combustion process.

Problem 12: An old boiler test provides the data as follows:

Fuel ultimate analysis:

C = 57.5% ; N = 1.0% ; H = 3.7%

S = 3.3% & O = 5.8% : A = 16.5%

M = 12.0%

HHV = 25586 kJ/kg

Flue Gas analysis:

CO2 = 13.0% ; O2 = 7.0% CO = 1.0% ; N2 = 79.0%

Combustible solid refuse = 20% : Flue gas temperature = 1850C:

Relative humidity of Air 64%.  The radiation and unaccounted-for loss is

assumed to be 3%.  Calculate the boiler efficiency.

Problem 13:

Calculate the boiler heat balance on the dry basis for the data as follows:

Fuel ultimate analysis:

C = 71.81% ; N = 1.2% ; H = 5.23%

S = 3.34% ; O = 10.15% &; A = 8.27%

HHV = 30428 kJ/kg

Flue Gas analysis:

CO2 = 14.2% ; O2 = 4.3% ; CO = 0.3% & N2 = 81.2%

Combustible Solid Refuse = 0.115 kg per kg of coal burned

Flue gas temperature = 2400C

Fuel and room temperature = 300C

Relative humidity of Air = 50%.