## Slide 1
Design Variations of Water Wheels
Respect & Optimize the Diversity of Traditional Systems …
P M V Subbarao
Professor
Mechanical Engineering Department
Head,CRDT

## Slide 2: Undershot Horizontal axis turbine
B
T
2
Do

## Slide 4
Photograph of IIT Delhi Design

## Slide 5
$320
$2700
Cost of gear box
$160
$1800
Cost of wheel
impulse
impulse
Principle
14
24
No. of blades
72%[t] 68%[p]
40%[t] 20%[p]
efficiency
22l/s
22 l/s
Pump discharge
400l/s
1800l/s
Water utilized to
run
6kw
6kw
Power developed
1.5
1.5
Head at site in m
1.26
4
Diameter in m
New Design
(Semera Village)
Lalitpur,UP
Farmer
’
s version
Bhailoni Village
Lalitpur,UP
Specification
Comparative study on development of Micro hydro water wheel

## Slide 6
Design II : Krishi Vigyan Kendra ,Jagdishpur, Sonipat
5KW design with 3.7KW Irrigation Pump

## Slide 8: IIT Delhi Contributions
Design, Fabrication and Erection of 5 kW Horizontal Axis Hydro-Turbo Pump on a small river near Jhansi.
Design , Fabrication and Testing of 3.5 kW Horizontal Axis Hydro-Turbo Pump cum Generator on a Drainage Canal at Sonipat.
Design, Fabrication of 3.5 kW Vertical Axis Hydro-Turbo Atta Chakki cum Alternator at Lacchiwala, near Dehradun.
Design and Development of 5 KW Horizontal Axis Hydro-Turbo Pump cum Generator at Pokhri, Uttaranchal.
Design and Development of 5 KW Horizontal Axis Hydro Generator at Halflong, Assam.

## Slide 9: Assam, India: Micro Hydro Power Project to Benefit 38 Families

## Slide 10: Peace thru Technology
Inhabitants of a remote village in the rugged, mountainous terrain of North Cachar Hills are getting uninterrupted power supply even though it is not connected by conventional power grid.
This has been made possible by the State’s first micro hydro-electricity.
The project generates 6.8 KVA power from a hilly stream called Boro Robi nullah near the hamlet.
It has a 12-foot-high water reservoir and a turbine.
“This was started as a pilot project with support from the Army, and following its successful implementation, we plan to set up more such micro hydel projects in similar terrain in the district,” HP Rajkumar, Project Director, District Rural Development Agency (DRDA), NC Hills, said, adding that a couple of sites had already been identified for the purpose.
Rajkumar said that the Army engineers designed the turbine, which cost Rs 1.25 lakh. “The Army has been very enthusiastic about the project and extended every possible cooperation to us.
We got technical expertise from the IIT-Delhi as well,” he said.
At the moment the project is illuminating 38 households of the village besides a school, a church, a temple and an auditorium. “The households have two bulbs each.

## Slide 11: Traditional Vertical Axis Water Wheels
A
Source of power in Rural Uttaranchal

## Slide 12: Suggested layouts for Uttaranchal Units
Penstock
Water Wheel
Main Shaft
Bush Bearing
Wooden Base
Grinder adjusting lever
Grinding Wheel
10” Pulley
12” Pulley
Gear Box
Generator
Canal
Forbay
New Design

## Slide 13
Specification of upgraded wheel for Garwhal area

## Slide 14
National Workshop on
Development of Man-Power in
Ultra Micro Hydel Turbines for
Rural Energy Systems
20th March to 28th March 2004.

## Slide 16: Enhancement of Livelihood Security through Sustainable Farming Systems and Related Farm Enterprises in North-West Himalaya “Sustainable Rural Livelihood Security”
Objectives of IIT Delhi
Energy security: Micro-hydel systems and energy plantations will impart energy security by improving availability and reducing cost of expenditure.

## Slide 17: Proposed Layouts : Model -- I

## Slide 18: Proposed Layouts : Model -- II

## Slide 19: Proposed Layouts : Model -- III
Agricultural Utility

## Slide 20: Salient Features of Ultra Micro Hydel Units
Capacity of wheel < 10 kW.
No standard technology or manufacturer.
Matching transmission and utility equipment.
Designed to suit Agricultural applications.
Simple design and easy to manufacture.
Easy to operate and maintain.
Persons with ITI or diploma can be trained as hydro technicians.

## Slide 21
Experimental Method
5
(1) Inlet gate, (2) Honeycomb structure, (3) Test specimen and (4) Outlet gate (5) Cup type water current meter
Experimental facility at IIT Delhi : Sketch
(1) Weight, (2) Nylon rope, (3) Pulley, (4) Spring balance, (5) Bearing, (6) Shaft and (7) Turbine

## Slide 22
Experimental Water Channel facility at IIT Delhi
Weight, (2) Nylon rope, (3) Pulley, (4) Spring balance,
(5) Bearing, (6) Shaft and (7) Turbine

## Slide 23
Semicircular blade
Novel blade profile
270
0
90
0
Computational modelling of Savonius hydrokinetic turbine

## Slide 24
Computational modelling of twisted Savonius hydrokinetic turbine

## Slide 25
This turbine works on the same principle as the Savonius wind turbine.
Savonius Type water turbines
Installation of Eco Cinetic turbine
Installation of water rotor turbine